## Master Comments
REVIEW COMMENTS |  |  | Former Potlatch WSDOT Maintenance Facility Site
Document: |  | Remedial Investigation Report |  |  | Date: | 2021-02-04
Contractor: |  | Exponent for Skokomish Tribe
ITEM NO. | REVIEWER | DOC REFFERENCE | COMMENT | RESPONDEE | RESPONSE | BACK CHECK
General
1 | Payton |  | Department of Ecology’s review of the Potlatch RI will be based on an analysis of whether the remedial action meets the substantive requirements of the Model Toxics Control Act. If the cleanup standards proposed in the report doesn't just meet, but exceeds Ecology’s requirements Ecology will accept what has been proposed. As stated in this RI, “Proposed soil cleanup levels are conservative (protective) representing the most stringent of the potentially relevant and appropriate criteria for the Site”(Pg. 67). Remediating the site to these lower cleanup standards will likely entail higher cleanup costs. The Skokomish Tribe may wish to consult with Ecology regarding the proposed cleanup standards prior to submitting the RI to them. | Exponent | The RI report proposes cleanup levels for unrestricted land use. However, the feasibility of achieving these cleanup levels will be evaluated further in the feasibility study phase of the project. The Tribe understands that if these proposed cleanup levels are not reasonably achievable, a conditional closure involving institutional controls may be appropriate.
2 | Payton | General | It is WSDOT’s understanding that the Tribe wishes to make this site part of the Skokomish Reservation, and thus investigative and remedial action reports will likely be reviewed by US EPA. If it has not been completed, it may be in the best interest of the Tribe to compare proposed soil cleanup standards to those required by EPA at their cleanup sites to assess the most appropriate remediation levels. | Exponent | Exponent has reviewed and identified both state and federal cleanup criteria for the Site as ARARs in the RI report. These will be evaluated in the feasibility study. A comparison of proposed cleanup levels at the Site and a selection of which levels to apply at the Site will be presented in the feasibility study.
3 | Payton | General | The selected soil cleanup level in the RI is unrestricted use ("No Further Action"). Since the site is going to be a tribal complex including offices and service buildings, a commercial/industrial use may be more appropriate with the potential of institutional controls. The Tribe may wish to petition Ecology for this less stringent level of cleanup instead of the more conservative approach proposed, as being consistent with the site prospective use. | Exponent | See the response to Item 01 above.
4 | Payton | General | To help with review, please include a summary table showing all locations where soils still exceed proposed cleanup levels, a photo log of sampling activities and copies of field notes. | Exponent | Exponent has added a new table (Table 23, Samples with concentrations exceeding proposed soil cleanup levels), which summarizes the locations where soils exceed proposed cleanup levels. Exponent has also added a new appendix (new Appendix D, Photographs and Field Notes) with photographs and copies of field notes.
5 | Payton | General | To help with review, please include a cPAH TEF calculation table. | Exponent | Exponent has revised and reordered Table 13 so that the reader can more easily follow the total cPAH calculations.
6 | Cox | General | Remove reference to RRO throughout the report and use MTCA equivalent terminology such as TPH, Heavy oils, etc. | Exponent | The text, figures, and tables have been revised from "RRO" to "heavy oils."
7 | Cox | General | There is no mention of sample collection decontamination procedures or a discussion pertaining to investigative derived waste (IDW) management according to 173-350. 173-303 and MTCA. | Exponent | Descriptions of decontamination procedures have been added to Sections 3.3 and 3.4. A new section (new Section 3.6) has been added pertaining to IDW management.
Executive Summary
8 | Cox | pg9 - Para. 1 | What specific investigations were performed under Department of Ecology Guidance? | Exponent | The removal actions in 2014 were performed as part of Ecology's Voluntary Cleanup Program (VCP). Ecology's opinion letter regarding the 2014 cleanup actions is included in a new appendix (new Appendix A, Correspondence with Ecology Regarding Remedial Investigation Work Plan Development). The new appendix, as suggested in WSDOT's Item 14 below, provides Ecology's opinions on the development of the RI work plan (Exponent 2019) as well as Ecology's opinion letter regarding the cleanup actions in 2014.
9 | Cox | pg9 - Para. 1 | What was the site prior to 1955? Is there a historical use present in the 1940s. 30s or prior? | Exponent | Information about Site use prior to 1955 is from the 2013 Phase I environmental site assessment (ESA 2013a), which included review of available documents from various agencies, companies, and individuals, including Mason County Assessor’s Office and Environmental Data Research. Additional information about Site use prior to 1955 is from the review of available aerial photographs. Text has been added to the Executive Summary to indicate the following historical site use prior to 1955. Specifically: "Historical aerial photographs (Appendix A to the RI Work Plan) indicate that in 1938, the Site was undeveloped and was primarily densely forested; then, sometime between 1938 and 1951, the Site was logged."
10 | Cox | pg10 - Area 2 | How much fill material was stockpiled? How much material was graded over the site? | Exponent | The exact amount of stockpiled fill material at the Site is unknown. The exact amount of material graded over the Site in preparation for the RI site investigation activities is unknown.
11 | Cox | pg10 area 3 | How much fill material was stockpiled in Area 3? What material was burned from demolition projects? Was this material tested for asbestos and lead prior to burning? Was a burn permit obtained by the appropriate clean air authority? | Exponent | See response to Item 10 above. As far as Exponent is aware, fill material that was placed on the Site during ownership by the Skokomish Tribe was not tested for asbestos, lead, or other constituents. Exponent is unaware of any burn permits obtained by the Tribe. It is Exponent's understanding that the Tribe did not obtain a burn permit because the Skokomish would not have required a burn permit under its Ordinances, nor would the Skokomish have had any interaction with other agencies outside of the Tribe (e.g., Mason County) regarding burn permitting.
12 | Cox | pg10 - area 4 | Has a phase I ESA been performed? There is a data gap prior to 1955? | Exponent | Phase I investigations were conducted in 1995 and 2013, as discussed in revised Section 2.4 (see comment and response to Item 32 below regarding the 1995 Phase I investigation). As far as Exponent is aware, no data were collected at the Site prior to 1955.
13 | Cox | pg. 10 - para 1 | How much soil was remediated in 2014? What TSD facility received the waste? Was a report generated for this activity showing location of remedial soils, disposal tickets and soil sample locations? | Exponent | Approximately 1,850 tons of impacted soil were removed from the Site and disposed of at the WASCO County Landfill in Oregon (ESA 2014b,c,d). Reports were generated showing the location of the remediated soils and the confirmation soil sample locations (see RI report references ESA 2014b, ESA 2014c, and ESA 2014d). Copies of the disposal tickets were not included in these reports.
14 | Cox | PG10 - para 3 | Please provide and summarize Department of Ecology's correspondence and opinions regarding the development of this work plan and add as an attachment to the RI and Work plan in Appendix F | Exponent | A new appendix was added (new Appendix A, Correspondence with Ecology Regarding Remedial Investigation Work Plan Development) providing Ecology's opinions on the development of the RI work plan (Exponent 2019). As noted above, the new Appendix A also includes Ecology's opinion letter regarding the cleanup actions in 2014.
15 | Cox | pg10 Para3 | Was any attempt made to characterize the imported fill and storage activity? | Exponent | Fill activity was characterized by the following samples (see Table 2 and Figure 8): - Area 1: EX-B-1, EX-B-5, EX-B-9, EX-B-13, EX-B-14 - Area 2: EX-B-15, EX-B-16 - Area 3: EX-B-28, EX-B-30, EX-B-31, EX-B-32, EX-B-33, EX-B-34, EX-B-35, EX-B-36, EX-B-37, EX-B-38, EX-B-39, EX-B-41, EX-B-42, EX-B-43, EX-B-44. Storage activity was characterized by the following samples (see Table 2 and Figure 8): - Area 1: EX-B-9, EX-B-10, EX-B-11, EX-B-12.
16 | Cox | Pg. 11 - para 2 | Is the debris burning historic, recent or both? Please provide occurrences with dates. | Exponent | Evidence indicates that burning occurred both prior to and subsequent to the Tribe's acceptance of ownership. The exact dates of debris burning are unknown. Former debris burning in Area 3 is discussed in Section 2.3.3.2.
17 | Cox | Pg11 - Para 2 | Why Is RRO listed if the RI is following MTCA? The appropriate MTCA equivalent is TPH or heavy oils. Adjust report accordingly and remove references to RRO. The report should be written with TPH GRO, DRO and Heavy oils. | Exponent | The text, figures, and tables have been revised from "RRO" to "heavy oils."
18 | Cox | Pg11 - para 3 | Could TPH or lead also be present from storage activities? Was any attempt made to document boat storage or shed area surface soils? | Exponent | Yes, TPH or lead could be present from storage activities. However, the soil samples collected from the three borings installed around the former shed (EX-B-10, EX-B-11, EX-B-12) showed no exceedances of proposed soil cleanup levels (see RI report Figure 23). The soil samples collected from these three borings installed around the former shed included surface soil samples of 0 to 1 ft depth. The boat storage area, which was located to the west of the shed, was not specifically characterized because the area was not identified as potentially impacted in previous investigations. From the 2013 Phase I environmental site assessment: "The southwestern quadrant of the subject property contains sixteen small boats that have been discarded along the western portion of the quadrant. The boats are small vessels (12 to 16 feet) and have been stripped of their engines" (p. 26, ESA 2013a). Note that the boats were no longer present on the Site at the start of the RI activities. Exponent does not know the final disposition of the boats.
19 | Cox | PG11 Para 3 | Please explain the justification for naturally occurring thallium. Was the Thallium investigation part of the RI? Please provided the naturally occurring thallium research and justification report as an attachment to this report. Thallium was reported in Skok-2 and Sko-5 according to Ecology's correspondence 12/05/18. | Exponent | Exponent revised the text to eliminate reference to "naturally occurring" because the main point is that the infrequent detection of thallium in groundwater is attributable to soil particulates and is not representative of aquifer water quality. This determination is based on the historical total and dissolved groundwater data collected at the Site, which is summarized in the RI work plan (Exponent 2019). Specifically, there are historical groundwater sample exceedances for certain total metals constituents but not for the associated dissolved metals (including for wells Skok-2 and Skok-5; see RI work plan Sections 7.1.4, 7.2.4, 7.3.4, and 8.2). This determination was communicated by Exponent to Ecology during development of the RI work plan (see Exponent memorandum dated July 24, 2019, entitled Response to Ecology Review Comments on the Draft Remedial Investigation Work Plan for Former WSDOT Potlatch Maintenance Facility, Skokomish, Washington, Ecology Cleanup Site #12397, included in the new Appendix A, Correspondence with Ecology Regarding Remedial Investigation Work Plan Development) as follows: "Given historical groundwater sample exceedances for certain total metals constituents but not for the associated dissolved metals, and to minimize the potential for turbidity to impact total metals results such that they would not be representative of true groundwater conditions, only dissolved (field-filtered) groundwater samples will be collected for thallium and other metals analyses." A conditional closure approach, if selected as the proposed corrective action (see the response to Item 01 above) will not only affect soil cleanup levels but also groundwater cleanup levels (e.g., for thallium).
20 | Cox | pg. 12 par 1 and 2 | If the site is currently or is to be developed with asphalt, parking lots, buildings and other infrastructure as shown in the figures how is this indicative of a complete exposure pathway? | Exponent | Potentially complete exposure pathways are discussed because the exact future uses of the property have not been determined. See also the response to Item 01 above. Note that the Tribe has recently developed a park concept drawing showing the Tribe's intended future use for the WSDOT parcel. The relevant RI text and Figure 7 (Historical Site features with potential development) have been updated.
21 | Cox | pg12 para 1 | Will a covenant be required for background contaminant levels with the proposed cleanup standards? | Exponent | See the response to Item 01 above.
22 | Cox | Pg. 12 par 1 | 173-340-7493 (d) indicates that the Department of Ecology sets the cleanup levels. The standards proposed are conservative thus being the most expensive for the Tribe to achieve. Suggest working with Ecology for more appropriate cleanup levels given that the site is going to be developed. | Exponent | See the response to Item 01 above.
23 | Cox | Pg. 12 para 2 | With the site being developed as a tribal complex is there room to negotiate with Ecology regarding development timeline, cleanup levels and exposure pathways? | Exponent | See the response to Item 01 above. There may be room for negotiation, particularly during development of the feasibility study and the cleanup action plan phases of the project . Note that the Tribe has recently developed a park concept drawing showing the Tribe's current concept for future use of the WSDOT parcel. The relevant RI text and Figure 7 (Historical Site features with potential development) has been updated.
24 | Cox | Page 12 Para 2 | Why isn't the conditional point of compliance (surface to 6 ft) more appropriate than the standard point of compliance (surface to 15 ft) when most if not all the contamination is above 6 feet? This is also option 2 in Department of Ecology's 12/05/2018 TEE review Letter. | Exponent | See the response to Item 01 above.
25 | Cox | General | Reference and summarize Ecology VCP correspondence letters pertaining to development of the TEE and workplan. | Exponent | Correspondence with Ecology regarding development of the RI work plan has been added to a new appendix (Appendix A, Correspondence with Ecology Regarding Remedial Investigation Work Plan Development).
26 | Cox | Pg13 para 2 | Debris burning was conducted by Skokomish tribe page 10 area 3 write-up (see above). See pg. 22 last bullet point of section 2.3.1.1. Make debris burning consistent throughout the report that both WSDOT and Tribe burned materials. | Exponent | The text in Section 2.3.3.1 has been revised to be consistent with Section 2.3.1.1 (i.e., the Tribe burned the creosoted telephone poles, which had been used by WSDOT as a sander storage rack).
Report
27 | Cox | Sec 2.3.1.21&2 pg. 22/23 | See comments 16, 19 & 20 above. | Exponent | See the responses to Items 16, 19, and 20 above.
28 | Cox | Sec 2.3.1.2 pg. 23 para 2 | Has there been an attempt to characterize the boat storage and maintenance operations impacts to the site prior to the installation of fill material over the site? | Exponent | No. Fill materials were placed on Area 1 in approximately 2006, and site characterization was subsequently conducted in 2013 and 2014. Potential impacts from maintenance operations were characterized, to a certain degree, by sample collection (at depth) beneath the more recent fill material. As noted in the response to Item 18 above, the boat storage area, which was to the west of the shed, has not been specifically characterized because the area was not identified as potentially impacted in previous investigations. From the 2013 Phase 1 environmental site assessment: "The southwestern quadrant of the subject property contains sixteen small boats that have been discarded along the western portion of the quadrant. The boats are small vessels (12 to 16 feet) and have been stripped of their engines" (p. 26, ESA 2013a). Note that the boats were not present by the start of the RI activities. Exponent does not know what the final disposition of the boats were.
29 | Cox | Sec 2.3.2.1 pg. 24 para 1 | That name of the individual is Ray not Roy- Should read Ray Willard | Exponent | The text has been revised.
30 | Cox | Sec 2.3.2.2pg 24 para 2 | Was characterization of the stockpiles performed prior to grading? Is it known which stockpiles are from which activity either the Casino parking lot or bridge project and where those soils were graded over the site? | Exponent | Characterization of the stockpiles was performed after grading was conducted and was approved by Ecology (Ecology 2019b; see new Appendix A, Correspondence with Ecology Regarding Remedial Investigation Work Plan Development). Specifically, the stockpiles were graded in June 2019 in preparation for the RI Site investigation activities and samples were collected in August 2019 (see RI report Sections 3 and 3.3). It is not known which stockpiles are from which activity (e.g., either the casino parking lot or bridge project), nor where those soils were graded over the Site in the vicinity of the stockpiles.
31 | Cox | Sec 2.3.3.1 pg. 25 para2 | As noted above Skokomish tribe burned logs to accelerate the fire. Last bullet point page 22. Make debris burning consistent throughout the report that both WSDOT and Tribe burned materials. | Exponent | RI report Section 2.3.3.1 was revised to also include a discussion of the Tribe's burning of materials (i.e., the Tribe burned the creosoted telephone poles, which had been used by WSDOT as a sander storage rack) in addition to the existing discussion of WSDOT's burning of materials.
32 | Payton | Sec 2.4 Pg. 26 | WSDOT’s Phase I Environmental Site Assessment is not mentioned. | Exponent | A reference to WSDOT's Phase I environmental site assessment has been added to Section 2.4.
33 | Cox | Sec 2.4 pg. 27 para 2 | States: "[Groundwater and perched water (when encountered) at the Site have historically had detections of total metals (arsenic, chromium, lead, and thallium) and/or total phosphorus above screening levels.] However, the elevated metals have been attributed to particulates in unfiltered groundwater samples submitted for total metals analyses" [emphasis added]. What is the basis for this statement? Reference relevant reports. Who made this determination? What were the QA/QC procedures for filtration? Were the filters treated as hazardous waste? Are they included in the IDW? | Exponent | Part 1 of response to Item 33 (Part 2 of response to Item 33 is below): As noted in the response to Item 19 above, this determination is based on the historical total and dissolved groundwater data collected at the Site, which is summarized in the RI work plan (Exponent 2019). Specifically, there are historical groundwater sample exceedances for certain total metals constituents but not for the associated dissolved metals (including for wells Skok-2 and Skok-5; see RI work plan Sections 7.1.4, 7.2.4, 7.3.4, and 8.2). This determination was communicated to Ecology during development of the RI work plan (see Exponent memorandum dated July 24, 2019, entitled Response to Ecology Review Comments on the Draft Remedial Investigation Work Plan for Former WSDOT Potlatch Maintenance Facility, Skokomish, Washington, Ecology Cleanup Site #12397, included in the new Appendix A, Correspondence with Ecology Regarding Remedial Investigation Work Plan Development) as follows: "Given historical groundwater sample exceedances for certain total metals constituents but not for the associated dissolved metals, and to minimize the potential for turbidity to impact total metals results such that they would not be representative of true groundwater conditions, only dissolved (field-filtered) groundwater samples will be collected for thallium and other metals analyses." Exponent has revised the discussion in the RI report as follows (underlined and italicized text has been revised): "Groundwater and perched water (when encountered) at the Site have historically had detections of total metals (arsenic, chromium, lead, and thallium) and/or total phosphorus above screening levels. However, the elevated metals are likely attributable to particulates in unfiltered groundwater samples submitted for total metals analyses. Dissolved concentrations of arsenic, chromium, and lead were either not detected or were detected below screening levels. Total metals results appear to be associated with soil particulates, and thus are not representative of aquifer water quality. Analysis of dissolved metals in groundwater is considered more representative of aquifer water quality when turbidity of samples is a concern (Saar 1997)." (underlined and italicized text has been revised)
33 | Cox | Sec 2.4 pg. 27 para 2 | States: "[Groundwater and perched water (when encountered) at the Site have historically had detections of total metals (arsenic, chromium, lead, and thallium) and/or total phosphorus above screening levels.] However, the elevated metals have been attributed to particulates in unfiltered groundwater samples submitted for total metals analyses" [emphasis added]. What is the basis for this statement? Reference relevant reports. Who made this determination? What were the QA/QC procedures for filtration? Were the filters treated as hazardous waste? Are they included in the IDW? | Exponent | Part 2 of response to Item 33 (Part 1 of response to Item 33 is above): QA/QC samples collected during the RI activities included filtration blanks and equipment rinsate blanks (see Appendix C, Data Validation Report). Filtration blanks (FB-) were collected during the RI activities to address the potential for samples to be affected by metals from filter media. As noted in the data validation report (included as Appendix C, Data Validation Report), filtration blanks exhibited consistent contamination for arsenic, barium, and chromium (p. MET-2). Equipment rinsate blanks for groundwater equipment (ERBG-) were also collected during the RI activities. Appendix B of the data validation report summarizes all of the qualified data and the reason(s) for qualification. The filters were not disposed of as hazardous waste and were not included in the IDW; they were disposed of as solid waste.
34 | Cox | Sec 3.1.2 pg. 31 Para 3 | What is the confidence level of the GPR at 30 ft BGS? What is the name and type of instrument used? Please explain your QA/QC procedures. | Exponent | A specific confidence level of the GPR at 30 ft bgs was not provided in the geophysical survey report prepared by ECA Geophysics (Appendix B). However, the report states the following: "The instrument utilized for this survey was the Geophysical Survey Systems SIR3000 GPR system. This system operates at a frequency of 200 MHz and was found capable of imaging the upper 30 feet of the soils underlying the Site. This system successfully identified similar buried manmade objects at known depths, which is discussed in Section 2.0 below" (p. 1 of report in Appendix B [Geophysical Survey]). As described in Section 3.1.2, anomalies identified with both EMI and GPR were investigated further with test pitting, the results of which are discussed in Section 3.2.
35 | Cox | Sec 3.2 pg. 32 Bullet 2 | 2019 Grading of stockpiled material added fill up to 6 feet over the site? See page 29 last paragraph. | Exponent | The language "up to 6 feet" was incorrect. The text has been revised, for clarity, to read: "...Following grading of the formerly stockpiled soils, the depth of the fill resulting from regrading was 3 ft or less."
36 | Cox | Sec 3 | Were any pictures or field notes collected as part of this RI? Please provide a photo log and a copy of the field log project notes as an appendix to this RI Report. | Exponent | Exponent added a new appendix (new Appendix D, Photographs and Field Notes) with photographs and copies of field notes
37 | Cox | Sec 3.3 Pg. 34 bullet 1 | Please explain in text MTCA laboratory analyzation standard for RRO and how this is equivalent to understanding TPH and heavy oil according to 173-340? What RRO screening level in MTCA is being used? | Exponent | The text, figures, and tables have been revised from "RRO" to "heavy oils."
38 | Cox | Sec 3.3 Pg. 34 bullet 4 | Was a chromatogram performed on the charcoal (Dioxin/furan samples) to indicate age of occurrence? Please include as an attachment. | Exponent | Exponent provided the Level 2 laboratory data packages for your review in February 2021. Level 4 laboratory data packages, which include chromatograms, were also produced by the laboratory. These Level 4 laboratory data packages will be provided as an appendix to the RI report, as suggested. These chromatograms were not specifically evaluated to determine the age of charcoal occurrence.
39 | Cox | Sec 3.4 Pg. 34 para 1 | Please include surface soils screened and sampled in the are of the former shed where TPH products were reported and present? | Exponent | The soil samples collected from the three borings installed around the former shed (EX-B-10, EX-B-11, EX-B-12) showed no exceedances of proposed soil cleanup levels (see RI report Figure 23). The soil samples collected from these three borings installed around the former shed included surface soil samples of 0 to 1 ft depth.
40 | Cox | 3.4.2 Pg. 36 last para | Provide photo log of sample location especially of EX-SS-3 and EX-SS-6 | Exponent | Photos of these two samples were not taken. Photos taken during RI activities have been included in a new appendix (new Appendix D, Photographs and Field Notes).
41 | Cox | General Sec 3.4 and 3.5 | Please explain the management of IDW water and Soil borings. | Exponent | A new section (new Section 3.6) was added to the RI report pertaining to IDW management.
42 | Cox | General Sec 3.4 and 3.5 | Please explain your decontamination procedures. | Exponent | Text has been added to Sections 3.3 and 3.4 of the RI report explaining the decontamination procedures.
43 | Cox | Sec 3.7 pg. 41 para 2 | Are exposure pathways complete or not complete? Potentially complete implies might not be complete. MTCA CSM requirement is to determine completeness or incomplete exposure pathways. | Exponent | Potentially complete exposure pathways are discussed because the exact future uses of the property have not been determined. See also the response to Item 01 above. Further, the Tribe has developed a park concept drawing showing the Tribe's current concept for future use of the WSDOT parcel. RI report Figure 7 (Historical Site features with potential development) has been updated.
44 | Cox | Sec 3.7 pg. 41 bullet 1 | Suggest working with the Department of Ecology in the selection of appropriate cleanup levels. Using the most stringent cleanup levels for a future infrastructure site seems adversely cost effective for the Tribe. | Exponent | See the response to Item 01 above.
45 | Cox | Sec 4.2.1.6, Pg. 49 para 2 | Dioxin detection at 0-1 feet would be within the depth of reported fill material. Please provide locations of areas where fill was graded. | Exponent | Former stockpile areas, which are shown in yellow on Figure 8, were graded prior to RI activites. As can be seen in Figure 8, some of the former stockpile areas under the gravel parking area in the southern part of the Site had already been graded in order to create the parking area.
46 | Cox | Sec 4.2.2.2 Pg. 54 para 1 | Thallium exceedances discrepancies in two wells historically Skok-2 and Skok-5 | Exponent | As noted in the response to Item 33, there are historical groundwater sample exceedances for certain total metals constituents but not for the associated dissolved metals (including for wells Skok-2 and Skok-5, see RI work plan Sections 7.1.4, 7.2.4, 7.3.4, and 8.2). Please see the entire response to Item 33.
47 | Payton | Sec 4, pg. 57 par 1 | Last sentence of first paragraph. “This exclusion criterion does not apply at the Site because soil contamination is present below 15 ft in some areas of the site.” The report shows that contamination has been found above 15 in some areas, thus “below” should be replaced with “above”. | Exponent | The text was revised as suggested.
48 | Payton | Sec 6, pg. 61 bullet 2 | I believe there should be text stating EX-B-49-1-5 is a field duplicate of EX-B-7-1-5. I see there is the footnote, but stating the nature of this sample will make it clearer. | Exponent | Exponent moved the clarification that EX-B-49-1-5 is a field duplicate of EX-B-7-1-5 from a footnote to the text.
49 | Cox | Sec 6.1.3 Pg. 64 | Soil and ground water sections should read: In its current state "potential receptors for Site-related contaminants in" (soil/groundwater). The way it reads currently is confusing. | Exponent | The text was revised as suggested.
50 | Payton | Sec 6 Pg. 67 | For each Chemical of Potential Concern, the proposed cleanup level is selected as the lowest for human health soil screening levels and the EISC for ecological receptors. a. Pb is proposed at 50 mg/kg for plants. If the site is to be developed complete with parking lots, access roads and buildings a Method B cleanup level of 250 mg/kg appears to be more appropriate. b. Dioxin/Furan contamination was detected within a small band in soil identified by charcoal and ash at relatively the same depth below ground surface. These charcoal/ash layers may be the result of a natural forest fire, not manmade fires. Natural processes like forest fires can produce PCDDs and PCDFs. The Tribe may wish to consultant with Ecology to discuss how natural forest fires may impact dioxin/furan cleanup levels at this site. | Exponent | See the response to Item 01 above. Exponent conducted an evaluation of TEQ concentrations and TEQ histograms to determine if exceedances of the proposed cleanup level in four RI samples (EX-B-7, EX-B-15, EX-B-32, EX-B-41) can be attributable to an ambient, natural source such as historical wildfires. First, the concentration distribution of the 90 RI samples analyzed for dioxins/furans are consistent with natural background concentrations of ambient sources (including historical wildfires) except for three samples (EX-B-15, EX-B-32, EX-B-41). Further, TEQ histograms for each sample were plotted. When congeners related to combustion sources like forest fires (i.e., 1,2,3,4,6,7,8-HpCDD and OCDD) are removed from the three samples that do not match ambient sources (EX-B-15, EX-B-32, EX-B-41), the TEQs still exceed the natural background value indicating that the composition of these samples is not from combustion, but due to other source(s).
51 | Cox | Sec 8 pg. 69 para 3 | Please define RRO as it relates to MTCA concentrations. Suggest removing RRO altogether. | Exponent | The text, figures, and tables have been revised from "RRO" to "heavy oils."
52 | Cox | Conclusion Pg. 72 last sentence | No clear indication as to the size of contamination plumes or size and extents of hot spots. Has an appropriate investigation been performed to determine size and quantity for contaminates present? | Exponent | Exponent has added figures showing the potential extent of impacted areas in soil at the Site. These figures include both RI data and relevant historical data (i.e., data representing soil remaining at the Site after the 2014 removal actions), and all data has been compared to the proposed Site soil cleanup levels. Yes, an appropriate investigation has been performed to develop and evaluate remedial alternatives.
Figures
53 | Cox | Figure 2 | In addition to the large yellow demarcated stockpiles it would help to include Casino and Bridge project imported fill grading locations and depth of fill from report. This information should be represented in borehole logs. | Exponent | The exact location(s) of the imported fill associated with the casino and bridge projects is unknown.
54 | Cox | Figures 10-14 | Include depth of imported fill on cross-sections. | Exponent | Native, undisturbed soils were positively identified at one boring location, EX-B-21, in Area 2. The remainder of the borings terminated in imported fill. A note will be added to the cross-sections indicating the soils appeared to be imported fill.
55 | Payton | Figure 23 | BX-B-7 is shown to exceed proposed cleanup levels in Figure 23, but BX-B-7 is not listed on page 52 or 61? Again, please state that EX-B-49-1-5 is a duplicate. | Exponent | Sample EX-B-49-1-5 (which is a duplicate of EX-B-7-1-5) is not included in Section 4.1.2.6 (p. 52) because it does not exceed the Method B Cleanup Level for dioxins/furans, which are the samples discussed in that section. However, Sample EX-B-49-1-5 exceeds the EISC for dioxins/furans and is, therefore, discussed in Section 5.5.3 (p. 61; it is the sample that exceeds the EISC for dioxins in Area 1) and listed in Section 5.6 (p. 62).
56 | Payton | Figure 15 | You may wish to consider moving Figure 15 in front of Figure 20 for easier comparison between exceedances of petroleum hydrocarbon screening levels versus ecological indicators. | Exponent | This comment was considered, but no changes were made to the figure order. The current figure order reflects the order in which general topics are discussed in the report. Figures 15 through 18 show exceedances of Method B screening levels, and Figures 20 through 22 were developed as part of the TEE to show exceedance of EISCs. Introducing the TEE figures prior to discussion of the TEE itself would require an explanation in the text that would be out of place and distracting.
57 | Payton | Figure 19 | You may wish to consider moving Figure 19 “Groundwater elevation contours” behind Figure 8. Currently this figure is in the middle of a group of sample result figures. | Exponent | This comment was considered, but no changes were made to the figure order. The current figure order reflects the order in which general topics are discussed in the report. The groundwater results are discussed after the soil results and before the TEE; thus, the figures are organized in the same manner.
58 | Payton | Figure 18 | You may wish to consider moving Figure 18 in front of Figure 22 for easier comparison between total dioxins/furans soil screening levels versus ecological indicators | Exponent | This comment was considered, but no changes were made to the figure order. The current figure order reflects the order in which general topics are discussed in the report. Figures 15 through 18 show exceedances of Method B screening levels, and Figures 20 through 22 were developed as part of the TEE to show exceedance of EISCs. Introducing the TEE figures prior to discussion of the TEE itself would require an explanation in the text that would be out of place and distracting.
59 | Payton | Figure 23 | Figure 23 shows EX-B-39 and EX-B-42 as exceeding a dioxin/furan cleanup level, but we do not see text or results showing this exceedance. There appears to be an extra bullet next to these sample location which appears to be an error, thus these bullets and contamination indicator should be deleted | Exponent | The exceedances shown on Figure 23 are in samples collected prior to the RI. However, labels were missing for those two samples. Labels have been added to Figure 23 for samples DT-2-1 and DT-4-1. These samples have also been added to the new Table 23, which summarizes the locations where soils exceed proposed cleanup levels.
60 | Cox | General | Include figures representing the RI findings for the contamination plumes and hot spot locations per constituent. There are no figures indicating size of contamination areas; sample points do not represent contaminated soil quantities. | Exponent | Exponent has added figures showing the potential extent of impacted areas in soil at the Site. These figures include both RI data and relevant historical data (i.e., data representing soil remaining at the Site after the 2014 removal actions), and all data has been compared to the proposed Site soil cleanup levels.
Tables
61 | Cox | General | Include MTCA citation for RRO. What regulatory 173-340 reference is this? What is the value for RRO representing? Use MTCA terminology (TPH, DRO, Heavy oils, etc.) when discussing laboratory results, analytical methods, and cleanup levels. | Exponent | The text, figures, and tables have been revised from "RRO" to "heavy oils."
62 | Payton | General | Please include previous investigation dioxin/furan results in a “Total dioxins and furans in soil table”. | Exponent | Exponent summarized available historical soil sampling results from previous investigations (including dioxin/furan results) in Appendix C of the RI work plan, which was included as an appendix to the RI Report (Appendix F, Remedial Investigation Work Plan). For the RI report, Exponent focused on historical investigation locations where screening level exceedances remain in-place after 2014 removal activities, which are shown on RI report Figures 4 and 23 and summarized in the new table (Table 23), which summarizes the locations where soils exceed proposed cleanup levels.
Appendix B
63 | Cox | General | Include depth of ground surface fill on the borehole logs. Report indicates 0-3 that is significant enough representation to be included in the lithology. | Exponent | Older fill versus more recent fill was unable to be delineated in the field during RI activities because of the similar nature and appearance of the fill across the Site. Therefore, this level of detail was not noted on the boring logs.
Appendix D
64 | Cox | Pg. D-2, Sec 1.2 | With only sampling 6" of the stockpile the center would not be sufficiently characterized. In addition, the top 6" of the stockpile or surface area would receive greater thermal vaporization and may bias sample results low. | Exponent | Each composite sample was composed of 10 approximately equal aliquots of soil collected from 0 to 0.5 ft bgs around the staked sample location (see Section 3.4.1); thus, the stockpile was sufficiently sampled. Exponent informed Ecology of this change and Ecology approved this method of collecting stockpiled soils (this correspondence will be included in the new Appendix A: Correspondence with Ecology Regarding Remedial Investigation Work Plan Development). As noted in the RI report (Sections 3 and 3.4.1), land clearing was performed in Areas 1, 2, and 3 to prepare the Site for the RI activities. Part of the land clearing included grubbing and grading the hummocky, stockpiled soils (which were covered with vegetation that if not cleared would have prevented implementation of the planned RI activities). Thus, while thermal vaporization may have occurred in the top 6-in. of the freshly-graded stockpiles, it is expected that the amount of thermal vaporization that might have occurred between grading and sampling the stockpiled soils (two months) would be low and should not bias sample results low.
65 | Cox | Pg. D-5, Sec 1.6 | Ecology did not approve of sampling charcoal deposits. If charcoal is naturally occurring from historic wildfires than the Dixons/furans from these samples can be considered naturally occurring. Please include an assessment of natural occurring dioxin/ furans as was provided for metals in the attached appendix. | Exponent | Exponent has conducted a review of dioxin/furan natural background values available in other publicly-available documents. However, no alternative value to the Ecology state-wide dioxin/furan natural background value was identified. Therefore, the Ecology state-wide dioxin/furan natural background value was used in the RI report. Exponent conducted an evaluation of TEQ concentrations and TEQ histograms to determine if exceedances of the proposed cleanup level in four RI samples (EX-B-7, EX-B-15, EX-B-32, EX-B-41) can be attributable to an ambient, natural source such as historical wildfires. First, the concentration distribution of the 90 RI samples analyzed for dioxins/furans are consistent with natural background concentrations of ambient sources (including historical wildfires) except for three samples (EX-B-15, EX-B-32, EX-B-41). Further, TEQ histograms for each sample were plotted. When congeners related to combustion sources like forest fires (i.e., 1,2,3,4,6,7,8-HpCDD and OCDD) are removed from the three samples that do not match ambient sources (EX-B-15, EX-B-32, EX-B-41), the TEQs still exceed the natural background value indicating that the composition of these samples is not from combustion, but due to other source(s).
Appendix F - Work Plan
66 | Cox | Appendix F | Proposed QA/QC procedures should be explained in the RI report as to how these were met. There is no summary of onsite field operations, QA/QC procedure or deviations from either. | Exponent | Results from the QA/QC samples (i.e., field duplicates, equipment rinsate blanks, filtration blanks, and trip blanks) collected during RI activities were evaluated and used, as appropriate, during data validation. A detailed report regarding which samples were qualified and the reason(s) for the qualification(s) (including because of QA/QC samples) was included as Appendix C (Data Validation Report). The data, as qualified, were determined acceptable for use. Onsite field operations (e.g., land preparation, sample collection, decontamination, etc.) are summarized and discussed throughout Section 3 (Remedial Investigation Activities). Deviations from the RI work plan (which describes the planned field operations) was included in Appendix D (Deviations from the Remedial Investigation Work Plan). Exponent has added list of deviations from QA/QC procedures to Appendix D (Deviations from the Remedial Investigation Work Plan).
END OF COMMENTS