September 17, 2025

Renee Knecht

Project Manager

AECOM

1111 3rd Avenue, Suite 1600

Seattle, WA 98101

Re:	No Further Action Determination under WAC 173-340-515(5) for the following Site:

- Site Name:			Jacks Grocery

- Site Address:			706 S. Columbus Avenue, Goldendale

- Facility/Site ID:			89542539

- Cleanup Site ID:			6826

- VCP Project No.:			CE0537

Dear Renee Knecht:

Thank you for submitting your independent remedial action report for Jacks Grocery (Site) for review by the Department of Ecology (Ecology) under the Voluntary Cleanup Program (VCP). Ecology appreciates your initiative in pursuing this administrative option for cleaning up your site under the Model Toxics Control Act (MTCA), Chapter 70.105D RCW.

This letter is an advisory opinion regarding whether further action is necessary to meet the substantive requirements of MTCA and its implementing regulations, Chapter 70.105D RCW, and Chapter 173-340 WAC.

Ecology provides this advisory opinion under the specific authority of RCW 70.105D.030(1)(i) and WAC 173-340-515(5).

## No Further Action

Ecology has determined that the independent remedial action(s) are sufficient, and no further action is necessary at the site. This determination was based on our review of the following reports and supporting documentation:

- Compliance Monitoring Report, September 2025, AECOM.

- 2024 Site Status Report, November 2024, Arcadis.

- Jacks Grocery – Data Gap Investigation Work Plan, October 2022, Arcadis.

- Corrective Action Progress Report, October 1992, Robert D. Miller Consulting.

The referenced documents are available online.

## Investigation Summary

The nature and extent of the contamination have been properly characterized. The Site is defined by the extent of contamination caused by the following release(s):

- Gasoline-range, diesel-range, and heavy oil-range organics in soil

- Benzene, toluene, ethylbenzene, and total xylenes in soil

- Gasoline-range, diesel-range, and heavy oil-range organics in groundwater

- Benzene, toluene, ethylbenzene, total xylenes, and lead in groundwater

A remedial investigation was performed to characterize the Site after the discovery of the release from the underground storage tanks and/or their fuel distribution system. Samples from soil borings and monitoring wells showed soil and groundwater impacted by the contaminants of concern listed above.

Cleanup actions included source control by removal of the underground storage tanks and associated petroleum-contaminated soil.  Natural attenuation also operated as an active process in the soil and groundwater media after the removal of a sufficient volume of contaminated soil. Although not specifically pursued as a remedial action, the effectiveness of natural attenuation is demonstrated by the groundwater monitoring results following the source mass removal. The vapor intrusion exposure pathway is incomplete since the soil and groundwater meet the Method A cleanup levels.

Model remedy 1 applies in this case. Sufficient confirmation sampling and monitoring were performed to document compliance with the Method A cleanup levels for the listed contaminants of concern at their relevant points of compliance.

## Limitations

This no further action determination does not apply to any other release(s) or potential release(s) of contaminant(s) that may impact any other portion of any property impacted by this Site, or any other property owned or operated by Jared Martin, Anthony Trust/Trustee Donald Anthony, Steven Johnston, or Union Oil Company of California, or Chevron U.S.A Inc.

Please note that this opinion is based solely on the information contained in the documents reviewed. Therefore, if any of the information contained in those documents is materially false or misleading, then this opinion will automatically be rendered null and void, and further remedial action may be required at the Site.

The state, Ecology, and its officers and employees make no guarantees or assurances by providing this opinion, and no cause of action against the state, Ecology, its officers, or employees may arise from any act or omission in providing this opinion. This opinion does not resolve a person’s liability to the state under MTCA or protect a person from contribution claims by third parties for matters addressed by the opinion. The state does not have the authority to settle with any person potentially liable under MTCA except in accordance with RCW 70.105D.040(4). The opinion is advisory only and not binding on Ecology.

## Project Closure

Based on this no further action determination, Ecology will update the status of the Site and remove it from the Contaminated Sites List.

Again, Ecology appreciates your initiative in successfully completing the cleanup under the Voluntary Cleanup Program (VCP). If you have any questions regarding this opinion, please contact me at (509) 731-9613.

Sincerely,

John Mefford

Site Manager

Toxics Cleanup Program

Central Regional Office

https://app.leg.wa.gov/rcw/dispo.aspx?cite=70.105D

https://app.leg.wa.gov/wac/default.aspx?cite=173-340

https://app.leg.wa.gov/rcw/dispo.aspx?cite=70.105D.030

https://app.leg.wa.gov/wac/default.aspx?cite=173-340-515

https://apps.ecology.wa.gov/cleanupsearch/document/161512

https://apps.ecology.wa.gov/cleanupsearch/document/152737

https://apps.ecology.wa.gov/cleanupsearch/document/117881

https://apps.ecology.wa.gov/cleanupsearch/document/153016

https://app.leg.wa.gov/rcw/dispo.aspx?cite=70.105D.040