## perf-confirm wells
Table 1-2
Compliance Monitoring Wells
Equilon Seattle Sales Terminal
Seattle, Washington
Well | Location | Monitoring Objective | Use
MW-05 | Main Terminal | Sentry Well | Water Sampling
MW-101 | Main Tank Farm | Sentry, Performance Monitoring Well | Water Sampling
MW-102 | NW of Main Tank Farm | Sentry Well | Water Sampling
MW-104 | Main Terminal | Sentry Well | Water Sampling
MW-105 | Main Terminal | Sentry Well | Water Sampling
MW-111 | Main Terminal | Sentry Well | Water Sampling
MW-112 | Main Terminal | Sentry Well | Water Sampling
TES-MW-1 | Main Tank Farm | Performance Monitoring Well | Water Sampling
TX-03 | Main Tank Farm, Off Site | Sentry, Performance Monitoring Well | Water Sampling
TX-04 | Main Tank Farm, Off Site | Sentry Well | Water Sampling
TX-06 | Main Tank Farm, Off Site | Sentry Well | Water Sampling
MW-201 | North Tank Farm | Sentry, Performance Monitoring Well | Water Sampling
MW-202 | North Tank Farm | Sentry, Performance Monitoring Well | Water Sampling
MW-203 | North Tank Farm | Sentry, Performance Monitoring Well | Water Sampling
MW-204 | North Tank Farm | Performance Monitoring Well | Product Monitoring/Recovery
MW-206 | North Tank Farm | Site Background Monitoring Well | Water Sampling
MW-208 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
MW-210 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
MW-211 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
MW-212 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
MW-213 | Shoreline Manifold Area | Confirmational Monitoring Well | Water Sampling
MW-214 | Shoreline Manifold Area | Confirmational Monitoring Well | Water Sampling
WP-1 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
WP-2 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
WP-3 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
WP-4 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
WP-5 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
WP-6 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
WP-7 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery
WP-8 | Shoreline Manifold Area | Performance Monitoring Well | Product Monitoring/Recovery

## well analytes
Table 1-3
Compliance Monitoring Analytical Parameters
Equilon Seattle Sales Terminal
Seattle, Washington
| First Year | Analytical Parameters
| Sampling | [7 empty] | Natural
Well | Frequency | BTEX | TPH-G | TPH-D | TPH-O | cPAHs | Arsenic | Lead | Attenuationb | Fieldc
MW-05 | Quarterlya | X | X | X | X | — | X | X | — | X
MW-101 | Quarterlya | X | X | X | X | — | X | X | X | X
MW-102 | Quarterlya | X | X | X | X | — | X | X | — | X
MW-104 | Quarterlya | X | X | X | X | — | X | X | — | X
MW-105 | Quarterlya | X | X | X | X | — | X | X | — | X
MW-111 | Quarterlya | X | X | X | X | — | — | — | — | X
MW-112 | Quarterlya | X | X | X | X | — | — | — | — | X
TES-MW-1 | Quarterlya | X | X | X | X | — | — | — | X | X
TX-03 | Quarterlya | X | X | X | X | — | X | X | X | X
TX-04 | Quarterlya | X | X | X | X | — | X | X | — | X
TX-06 | Quarterlya | X | X | X | X | — | X | X | — | X
MW-201 | Quarterlya | X | X | X | X | — | — | — | X | X
MW-202 | Quarterlya | X | X | X | X | — | — | — | X | X
MW-203 | Quarterlya | X | X | X | X | — | — | — | X | X
MW-206 | Quarterlya | X | X | X | X | — | — | — | — | X
MW-213 | Quarterlya | X | X | X | X | X | — | — | — | X
MW-214 | Quarterlya | X | X | X | X | X | — | — | — | X
NOTE: See Appendix A for analytical methods.
a Sampling will occur January 1999 through January 2004; Ecology and Equilon will review the data after one year;
if trends are declining, sampling frequency and parameters may be reduced; natural attenuation parameters will be
analyzed annually after the first year.
b Natural attenuation parameters include alkalinity, carbon dioxide, dissolved oxygen, total iron, ferrous iron,
hardness, methane, oxidation/reduction potential, pH, and sulfate.
c Field parameters include dissolved oxygen, pH, specific conductance, temperature, and turbidity.