## OBS
3 | 130.27 | 100 |  | OBS1 |  | MW-37 |  | MW-25 |  | test1 |  | test2 |  | test3 |  | sdsd |  | dsfsdfa |  | OBS9 |  | OBS10 |  | OBS11 |  | OBS12 |  | OBS13 |  | OBS14 |  | OBS15 |  | OBS16 |  | OBS17 |  | OBS18 |  | OBS19 |  | OBS20
Time | MW28 |  | MW28 | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data | Time | Meas Data
0 | 0 | 0 |  | 0 | 0.5 | 0 | 0.5 | 0 | 0.5 | 0 | 0 | 11 | 11 | 23 | 3 | 0 | 0 | 0 | fd | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.5 | 0 | 0 |  | 1 | 1 | 1 | 1 | 1 | 3 |  |  | 0 | 0
1 | 0 | 0 |  | 2 | 0.7 | 2 | 0.7 | 2 | 2
1.5 | 0 | 0 |  | 3 | 2 | 3 | 2 | 3 | 9.4
2 | 0 | 0 |  | 4 | 0.8 | 4 | 0.8 | 4 | 3.5
2.5 | 0 | 0 |  | 5 | 0.1 | 5 | 0.1 | 5 | 3.8
3 | 0 | 0 |  | 6 | 0.11 | 6 | 0.11 | 6 | 0.32
3.5 | 0 | 0 |  | 7 | 0.5 | 7 | 0.5 | 7 | 2.5
4 | 0 | 0 |  | 8 | 1.4 | 8 | 1.4 | 8 | 4.3
4.5 | 0 | 0 |  | 9 | 0.1 | 9 | 0.1 | 9 | 12
5 | 0 | 0 |  | 10 | 1 | 10 | 1 | 15 | 12
5.5 | 0 | 0 |  | 11 | 5.8 | 11 | 5.8 | 19 | 8.8
6 | 0 | 0 |  | 12 | 5.4 | 12 | 5.4 | 26 | 11
6.5 | 0 | 0 |  | 13 | 6.7 | 13 | 6.7 | 28 | 12
7 | 0 | 0 |  | 14 | 7.5 | 14 | 7.5 | 36 | 13
7.5 | 0 | 0 |  | 15 | 5.6 | 15 | 5.6 | 38 | 13
8 | 0 | 0 |  | 16 | 5.6 | 16 | 5.6 | 39 | 13
8.5 | 0 | 0 |  | 17 | 6.8 | 17 | 6.8 | 40 | 15
9 | 0 | 0 |  | 18 | 2.5 | 18 | 2.5 | 41 | 15
9.5 | 0 | 0 |  | 19 | 0.87 | 19 | 0.87 | 42 | 11
10 | 0 | 0 |  | 20 | 0.87 | 20 | 0.87 | 53 | 11
10.5 | 0 | 0 |  | 21 | 1.6 | 21 | 1.6 | 54 | 12
11 | 0 | 0 |  | 22 | 1.6 | 22 | 1.6 | 55 | 0
11.5 | 0 | 0
12 | 0 | 0
12.5 | 0 | 0
13 | 0 | 0
13.5 | 0 | 0
14 | 0 | 0
14.5 | 0 | 0
15 | 0 | 0
15.5 | 0 | 0
16 | 0 | 0
16.5 | 0 | 0
17 | 0 | 0
17.5 | 0 | 0
18 | 0 | 0
18.5 | 0 | 0
19 | 0 | 0
19.5 | 0 | 0
20 | 0 | 0
20.5 | 0 | 0
21 | 0 | 0
21.5 | 0 | 0
22 | 0 | 0
22.5 | 0 | 0
23 | 0 | 0
23.5 | 0 | 0
24 | 0 | 0
24.5 | 0 | 0
25 | 0 | 0
25.5 | 0 | 0
26 | 0 | 0
26.5 | 0 | 0
27 | 0 | 0
27.5 | 0 | 0
28 | 0 | 0
28.5 | 0 | 0
29 | 0 | 0
29.5 | 0 | 0
30 | 0 | 0
30.5 | 0 | 0
31 | 0 | 0
31.5 | 0 | 0
32 | 0 | 0
32.5 | 0 | 0
33 | 0 | 0
33.5 | 0 | 0
34 | 0 | 0
34.5 | 0 | 0
35 | 0 | 0
35.5 | 0 | 0
36 | 0 | 0
36.5 | 0 | 0
37 | 0 | 0
37.5 | 0 | 0
38 | 0 | 0
38.5 | 0 | 0
39 | 0 | 0
39.5 | 0 | 0
40 | 0 | 0
40.5 | 0 | 0
41 | 0 | 0
41.5 | 0 | 0
42 | 0 | 0
42.5 | 0 | 0
43 | 0 | 0
43.5 | 0 | 0
44 | 0 | 0
44.5 | 0 | 0
45 | 0 | 0
45.5 | 0 | 0
46 | 0 | 0
46.5 | 0 | 0
47 | 0 | 0
47.5 | 0 | 0
48 | 0 | 0
48.5 | 0 | 0
49 | 0 | 0
49.5 | 0 | 0
50 | 0 | 0

## Input
Discretization points
X | Y
0 | -35 | Constant Concentration |  | 1 | Number of Observation Points |  |  | 3 | 1 | NTIMES | 10 | 1
0.25 | -35 | Source Concentration |  | 22 | Point | x | y | z | Concentration | # | Time
0.5 | -35 |  |  |  | MW28 | 0 | 0 | 5 |  | 1 | 0
0.75 | -35 | Exponentialy-decaying Conc. |  | 1 | MW-37 | 10 | 0 | 5 |  | 2 | 1
1 | -35 | Source Concentration |  | 100 | MW-25 | 50 | 5 | 6 |  | 3 | 3
1.25 | -35 | Source Decay Coefficient |  | 0.077 | test1 | 200 | 0.1155 | 4 |  | 4 | 4
1.5 | -35 |  |  |  | test2 | 60 | 0 | 6 |  | 5 | 5
1.75 | -35 | Arbitrary inflow concentration. Set of points | 20 | 1 | test3 | 80 | 0 | 6 |  | 6 | 10
2 | -35 |  | Concentration | Time | sdsd | 400 | 50 | 5 |  | 7 | 20
2.25 | -35 |  | 100 | 0 | dsfsdfa | 200 | -20 | 6 |  | 8 | 40
2.5 | -35 |  | 10 | 5 | werwew | 300 | -50 | 4 |  | 9 | 60
2.75 | -35 |  | 100 | 10 | ferr | 100 | 20 | 5 |  | 10 | 80
3 | -35 |  | 0.4354 | 15 | 0 |  |  |  |  | 11 | 35
3.25 | -35 |  | 0.33 | 20 | 0 |  |  |  |  | 12 | 40
3.5 | -35 |  | 0.2501 | 30 | 0 |  |  |  |  | 13 | 45
3.75 | -35 |  | 0.1895 | 40 | 0 |  |  |  |  | 14 | 50
4 | -35 |  | 0.1436 | 50 | 0 |  |  |  |  | 15 | 55
4.25 | -35 |  | 0.1089 | 60 | 0 |  |  |  |  | 16 | 60
4.5 | -35 |  | 0.0825 | 70 | 0 |  |  |  |  | 17 | 65
4.75 | -35 |  | 0.0625 | 80 | 0 |  |  |  |  | 18 | 70
5 | -35 |  |  |  | 0 |  |  |  |  | 19 | 75
0 | -28 |  |  |  | 0 |  |  |  |  | 20 | 80
0.25 | -28
0.5 | -28
0.75 | -28
1 | -28
1.25 | -28 | [11 empty] | Dumy values
1.5 | -28 | [12 empty] | 0 | 25 | 50 | 75 | 100 | 125 | 150 | 175 | 200 | 225 | 250 | 275 | 300 | 325 | 350 | 375 | 400 | 425 | 450 | 475 | 500 | 525 | 550 | 575 | 600 | 625 | 650 | 675 | 700 | 725 | 750 | 775 | 800 | 825 | 850 | 875 | 900 | 925 | 950 | 975 | 1000
1.75 | -28 |  |  |  | INPUT PARAMETERS |  |  |  |  | Combobox Swiitch |  |  | 10 | 100 | 90.8408 | 76.815 | 65.406 | 56.4688 | 44.7497 | 18.5461 | 1.8287 | 0.027995 | 5.6549e-05 | 1.4125e-08 | 4.2346e-13 | 1.5001e-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | -28 | Arbitrary inflow concentration. Set of steps | 20 | 1 | Seepage Velocity |  | 34.48 | V | [L/T] | 1 |  |  | 13.5 | 100 | 90.8408 | 76.8149 | 65.4044 | 56.4591 | 44.727 | 18.531 | 1.827 | 0.027966 | 5.6488e-05 | 1.4109e-08 | 4.2298e-13 | 1.4984e-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.25 | -28 |  | Concentration | Time | Aquifer Top Elevation |  | 34.48 | B2 | [L] | Plume Type |  |  | 17 | 100 | 90.8404 | 76.7939 | 65.2798 | 56.1424 | 44.267 | 18.2832 | 1.8 | 0.027536 | 5.5602e-05 | 1.3885e-08 | 4.1622e-13 | 1.4743e-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.5 | -28 |  | 100 | 1 | Aquifer Bottom Elevation |  | 0 | B1 | [L] | 2 |  |  | 20.5 | 100 | 90.5705 | 75.1315 | 62.2001 | 52.197 | 40.4079 | 16.5355 | 1.6221 | 0.024778 | 4.9994e-05 | 1.248e-08 | 3.7398e-13 | 1.3244e-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.75 | -28 |  | 50 | 5 | Longitudinal Dispersivity |  | 27 | aL | [L] | Source Type |  |  | 24 | 100 | 67.4795 | 51.9211 | 42.161 | 35.3305 | 27.4679 | 11.2801 | 1.1084 | 0.016943 | 3.42e-05 | 8.539e-09 | 2.5593e-13 | 9.0644e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | -28 |  | 100 | 10 | Transverse Dispersivity |  | 2.7 | aTH | [L] | 1 |  |  | 27.5 | 0 | 5.0005 | 9.8494 | 11.6118 | 11.9644 | 10.5138 | 4.5664 | 0.45821 | 0.0070655 | 1.4324e-05 | 3.5851e-09 | 1.0762e-13 | 3.8156e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.25 | -28 |  | 5000 | 60 | Vertical Dispersivity |  | 0.27 | aTV | [L] | Active Obs |  |  | 31 | 0 | 0.019324 | 0.30857 | 0.92961 | 1.5991 | 1.8777 | 0.926 | 0.097421 | 0.0015323 | 3.1372e-06 | 7.897e-10 | 2.379e-14 | 8.4554e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.5 | -28 |  | 600 | 65 | Effective Diffusion Coef. |  | 0.001 | D* | [L2T-1] | 3 |  |  | 34.5 | 0 | 1.8216e-05 | 0.0021523 | 0.022263 | 0.081 | 0.14575 | 0.086387 | 0.0097486 | 0.00015806 | 3.2867e-07 | 8.3484e-11 | 2.5296e-15 | 9.0259e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.75 | -28 |  | 0 | 7200 | Retardation Factor |  | 2.55 | R | [-] |  |  |  | 38 | 0 | 9.9725e-09 | 5.4858e-06 | 0.0001963 | 0.0016737 | 0.0049051 | 0.003584 | 0.00043973 | 7.4061e-06 | 1.5714e-08 | 4.0397e-12 | 1.2336e-16 | 4.4253e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | -28 |  | 0 | 8100 | 1st Order Decay Coeff |  | 8.6625 | l | [T-1] |  |  |  | 41.5 | 0 | 4.3517e-12 | 7.4433e-09 | 8.0361e-07 | 1.565e-05 | 7.3121e-05 | 6.5474e-05 | 8.764e-06 | 1.5398e-07 | 3.3443e-10 | 8.721e-14 | 2.6884e-18 | 9.7083e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.25 | -28 |  | 0 | 8700 | Total source width along y-axis |  | 30 | 2y0 | [L] |  |  |  | 45 | 0 | 1.7085e-15 | 6.7767e-12 | 1.8241e-09 | 7.151e-08 | 4.9206e-07 | 5.2603e-07 | 7.6491e-08 | 1.4032e-09 | 3.1251e-12 | 8.2799e-16 | 2.58e-20 | 9.3881e-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.5 | -28 |  | 0 | 9700 | Elevation at the top of the source |  | 120 | z1 | [L] |  |  |  | 48.5 | 0 | 6.2953e-19 | 4.6355e-15 | 2.4919e-12 | 1.6395e-10 | 1.5063e-09 | 1.8595e-09 | 2.9119e-10 | 5.5692e-12 | 1.2724e-14 | 3.4282e-18 | 1.0807e-22 | 3.9656e-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.75 | -28 |  | 0.7 | 10000 | Elevation at the bottom of the source |  | 90 | z2 | [L] |  |  |  | 52 | 0 | 2.0999e-22 | 2.3559e-18 | 2.0085e-15 | 1.8607e-13 | 2.0937e-12 | 2.8911e-12 | 4.826e-13 | 9.594e-15 | 2.2474e-17 | 6.1589e-21 | 1.9651e-25 | 7.2755e-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | -28 |  | 1 | 20 | Porosity |  | 0.3 | n | [-] |  |  |  | 55.5 | 0 | 5.4716e-26 | 7.8922e-22 | 8.8553e-19 | 1.015e-16 | 1.3123e-15 | 1.9744e-15 | 3.4777e-16 | 7.1595e-18 | 1.7174e-20 | 4.7859e-24 | 1.5458e-28 | 5.7762e-34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | -21 |  | 40 | 32 | Hidraulic Conductivity |  | 1034.4 | K | [L/T] |  |  |  | 59 | 0 | 9.103e-30 | 1.5066e-25 | 1.9775e-22 | 2.5862e-20 | 3.6791e-19 | 5.9104e-19 | 1.0886e-19 | 2.3116e-21 | 5.6687e-24 | 1.6055e-27 | 5.2488e-32 | 1.9796e-37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.25 | -21 |  | 2 | 33 | Hydraulic Gradient |  | 0.01 | i | [-] |  |  |  | 62.5 | 0 | 8.2414e-34 | 1.471e-29 | 2.1159e-26 | 3.0101e-24 | 4.5799e-23 | 7.7373e-23 | 1.4787e-23 | 3.2265e-25 | 8.0737e-28 | 2.3219e-31 | 7.681e-36 | 2.9238e-41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.5 | -21 |  | 6 | 34 | Soil Bulk Density |  | 1.86 | rho | (kg/l) |  |  |  | 66 | 0 | 3.6889e-38 | 6.879e-34 | 1.0469e-30 | 1.575e-28 | 2.5154e-27 | 4.419e-27 | 8.7075e-28 | 1.9454e-29 | 4.9581e-32 | 1.4464e-35 | 4.8394e-40 | 1.4013e-45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.75 | -21 |  | 7 | 35 | Partition Coefficient |  | 125 | koc | (L/kg) |  |  |  | 69.5 | 0 | 7.7492e-43 | 1.4836e-38 | 2.3424e-35 | 3.6636e-33 | 6.0645e-32 | 1.0987e-31 | 2.2206e-32 | 5.064e-34 | 1.3121e-36 | 3.879e-40 | 1.2612e-44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | -21 |  | 8 | 36 | FractionOrganicCarbon |  | 0.002 | foc | (-) |  |  |  | 73 | 0 | 0 | 1.4433e-43 | 2.3364e-40 | 3.7579e-38 | 6.3924e-37 | 1.1869e-36 | 2.4502e-37 | 5.6879e-39 | 1.4956e-41 | 4.2039e-45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.25 | -21 |  | 14 | 37 | Solute Half-Life |  | 9 |  | (year) |  |  |  | 76.5 | 0 | 0 | 0 | 1.4013e-45 | 1.6956e-43 | 2.9357e-42 | 5.5618e-42 | 1.1687e-42 | 2.8026e-44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.5 | -21 |  | 16 | 38 | [8 empty] | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.75 | -21 |  | 12 | 39
2 | -21 |  | 33 | 40
2.25 | -21
2.5 | -21 |  | 1 | 100 | NTIME | TMIN | DELT | Tmax
2.75 | -21 |  | 5 | 100 | 100 | 0 | 0.5 | 50
3 | -21 |  | 5 | 50
3.25 | -21 |  | 10 | 50
3.5 | -21 |  | 10 | 100
3.75 | -21 |  | 60 | 100
4 | -21 |  | 60 | 5000
4.25 | -21 |  | 65 | 5000 | MODEL DISCRETIZATION |  |  |  |  | Elevation
4.5 | -21 |  | 65 | 600 | Starting coordinate (x axis) |  |  | Xmin [L] | 0 | 130
4.75 | -21 |  | 7200 | 600 | Ending coordinate (x axis) |  |  | Xmax [L] | 5 | 121.67
5 | -21 |  | 7200 | 0 | Number of discretization Points (x) |  |  | NX [-] | 20 | 113.33
0 | -14 |  | 8100 | 0 | Starting coordinate (y axis) |  |  | Ymin [L] | -35 | 105
0.25 | -14 |  | 8100 | 0 | Ending coordinate (y axis) |  |  | Ymax [L] | 35 | 96.67
0.5 | -14 |  | 8700 | 0 | Number of discretization Points (y) |  |  | NY [-] | 10 | 88.33
0.75 | -14 |  | 8700 | 0 | Modeled Area Top Elevation |  |  | Zmax[L] | 80 | 80
1 | -14 |  | 9700 | 0 | Modeled Area Bottom Elevation |  |  | Zmin [L] | 130
1.25 | -14 |  | 9700 | 0 | Number of discretization Points (z) |  |  | NZ [-] | 6
1.5 | -14 |  | 10000 | 0
1.75 | -14 |  | 10000 | 0.7
2 | -14 |  | 20 | 0.7
2.25 | -14 |  | 20 | 1
2.5 | -14 |  | 32 | 1
2.75 | -14 |  | 32 | 40
3 | -14 |  | 33 | 40
3.25 | -14 |  | 33 | 2
3.5 | -14 |  | 34 | 2
3.75 | -14 |  | 34 | 6
4 | -14 |  | 35 | 6
4.25 | -14 |  | 35 | 7
4.5 | -14 |  | 36 | 7
4.75 | -14 |  | 36 | 8
5 | -14 |  | 37 | 8
0 | -7 |  | 37 | 14
0.25 | -7 |  | 38 | 14
0.5 | -7 |  | 38 | 16
0.75 | -7 |  | 39 | 16
1 | -7 |  | 39 | 12
1.25 | -7 |  | 40 | 12
1.5 | -7 |  | 40 | 33
1.75 | -7 |  | 20 | 33
2 | -7
2.25 | -7
2.5 | -7
2.75 | -7
3 | -7
3.25 | -7
3.5 | -7
3.75 | -7
4 | -7
4.25 | -7
4.5 | -7
4.75 | -7
5 | -7
0 | 0
0.25 | 0
0.5 | 0
0.75 | 0
1 | 0
1.25 | 0
1.5 | 0
1.75 | 0
2 | 0
2.25 | 0
2.5 | 0
2.75 | 0
3 | 0
3.25 | 0
3.5 | 0
3.75 | 0
4 | 0
4.25 | 0
4.5 | 0
4.75 | 0
5 | 0
0 | 7
0.25 | 7
0.5 | 7
0.75 | 7
1 | 7
1.25 | 7
1.5 | 7
1.75 | 7
2 | 7
2.25 | 7
2.5 | 7
2.75 | 7
3 | 7
3.25 | 7
3.5 | 7
3.75 | 7
4 | 7
4.25 | 7
4.5 | 7
4.75 | 7
5 | 7
0 | 14
0.25 | 14
0.5 | 14
0.75 | 14
1 | 14
1.25 | 14
1.5 | 14
1.75 | 14
2 | 14
2.25 | 14
2.5 | 14
2.75 | 14
3 | 14
3.25 | 14
3.5 | 14
3.75 | 14
4 | 14
4.25 | 14
4.5 | 14
4.75 | 14
5 | 14
0 | 21
0.25 | 21
0.5 | 21
0.75 | 21
1 | 21
1.25 | 21
1.5 | 21
1.75 | 21
2 | 21
2.25 | 21
2.5 | 21
2.75 | 21
3 | 21
3.25 | 21
3.5 | 21
3.75 | 21
4 | 21
4.25 | 21
4.5 | 21
4.75 | 21
5 | 21
0 | 28
0.25 | 28
0.5 | 28
0.75 | 28
1 | 28
1.25 | 28
1.5 | 28
1.75 | 28
2 | 28
2.25 | 28
2.5 | 28
2.75 | 28
3 | 28
3.25 | 28
3.5 | 28
3.75 | 28
4 | 28
4.25 | 28
4.5 | 28
4.75 | 28
5 | 28
0 | 35
0.25 | 35
0.5 | 35
0.75 | 35
1 | 35
1.25 | 35
1.5 | 35
1.75 | 35
2 | 35
2.25 | 35
2.5 | 35
2.75 | 35
3 | 35
3.25 | 35
3.5 | 35
3.75 | 35
4 | 35
4.25 | 35
4.5 | 35
4.75 | 35
5 | 35
14.6667 | 3
15.3333 | 3
16 | 3
16.6667 | 3
17.3333 | 3
18 | 3
18.6667 | 3
19.3333 | 3
20 | 3
20.6667 | 3
21.3333 | 3
22 | 3
22.6667 | 3
23.3333 | 3
24 | 3
24.6667 | 3
25.3333 | 3
26 | 3
26.6667 | 3
27.3333 | 3
28 | 3
28.6667 | 3
29.3333 | 3
30 | 3
30.6667 | 3
31.3333 | 3
32 | 3
32.6667 | 3
33.3333 | 3
34 | 3
34.6667 | 3
35.3333 | 3
36 | 3
36.6667 | 3
37.3333 | 3
38 | 3
38.6667 | 3
39.3333 | 3
40 | 3
0 | 3.5
0.66667 | 3.5
1.3333 | 3.5
2 | 3.5
2.6667 | 3.5
3.3333 | 3.5
4 | 3.5
4.6667 | 3.5
5.3333 | 3.5
6 | 3.5
6.6667 | 3.5
7.3333 | 3.5
8 | 3.5
8.6667 | 3.5
9.3333 | 3.5
10 | 3.5
10.6667 | 3.5
11.3333 | 3.5
12 | 3.5
12.6667 | 3.5
13.3333 | 3.5
14 | 3.5
14.6667 | 3.5
15.3333 | 3.5
16 | 3.5
16.6667 | 3.5
17.3333 | 3.5
18 | 3.5
18.6667 | 3.5
19.3333 | 3.5
20 | 3.5
20.6667 | 3.5
21.3333 | 3.5
22 | 3.5
22.6667 | 3.5
23.3333 | 3.5
24 | 3.5
24.6667 | 3.5
25.3333 | 3.5
26 | 3.5
26.6667 | 3.5
27.3333 | 3.5
28 | 3.5
28.6667 | 3.5
29.3333 | 3.5
30 | 3.5
30.6667 | 3.5
31.3333 | 3.5
32 | 3.5
32.6667 | 3.5
33.3333 | 3.5
34 | 3.5
34.6667 | 3.5
35.3333 | 3.5
36 | 3.5
36.6667 | 3.5
37.3333 | 3.5
38 | 3.5
38.6667 | 3.5
39.3333 | 3.5
40 | 3.5
0 | 4
0.66667 | 4
1.3333 | 4
2 | 4
2.6667 | 4
3.3333 | 4
4 | 4
4.6667 | 4
5.3333 | 4
6 | 4
6.6667 | 4
7.3333 | 4
8 | 4
8.6667 | 4
9.3333 | 4
10 | 4
10.6667 | 4
11.3333 | 4
12 | 4
12.6667 | 4
13.3333 | 4
14 | 4
14.6667 | 4
15.3333 | 4
16 | 4
16.6667 | 4
17.3333 | 4
18 | 4
18.6667 | 4
19.3333 | 4
20 | 4
20.6667 | 4
21.3333 | 4
22 | 4
22.6667 | 4
23.3333 | 4
24 | 4
24.6667 | 4
25.3333 | 4
26 | 4
26.6667 | 4
27.3333 | 4
28 | 4
28.6667 | 4
29.3333 | 4
30 | 4
30.6667 | 4
31.3333 | 4
32 | 4
32.6667 | 4
33.3333 | 4
34 | 4
34.6667 | 4
35.3333 | 4
36 | 4
36.6667 | 4
37.3333 | 4
38 | 4
38.6667 | 4
39.3333 | 4
40 | 4
0 | 4.5
0.66667 | 4.5
1.3333 | 4.5
2 | 4.5
2.6667 | 4.5
3.3333 | 4.5
4 | 4.5
4.6667 | 4.5
5.3333 | 4.5
6 | 4.5
6.6667 | 4.5
7.3333 | 4.5
8 | 4.5
8.6667 | 4.5
9.3333 | 4.5
10 | 4.5
10.6667 | 4.5
11.3333 | 4.5
12 | 4.5
12.6667 | 4.5
13.3333 | 4.5
14 | 4.5
14.6667 | 4.5
15.3333 | 4.5
16 | 4.5
16.6667 | 4.5
17.3333 | 4.5
18 | 4.5
18.6667 | 4.5
19.3333 | 4.5
20 | 4.5
20.6667 | 4.5
21.3333 | 4.5
22 | 4.5
22.6667 | 4.5
23.3333 | 4.5
24 | 4.5
24.6667 | 4.5
25.3333 | 4.5
26 | 4.5
26.6667 | 4.5
27.3333 | 4.5
28 | 4.5
28.6667 | 4.5
29.3333 | 4.5
30 | 4.5
30.6667 | 4.5
31.3333 | 4.5
32 | 4.5
32.6667 | 4.5
33.3333 | 4.5
34 | 4.5
34.6667 | 4.5
35.3333 | 4.5
36 | 4.5
36.6667 | 4.5
37.3333 | 4.5
38 | 4.5
38.6667 | 4.5
39.3333 | 4.5
40 | 4.5
0 | 5
0.66667 | 5
1.3333 | 5
2 | 5
2.6667 | 5
3.3333 | 5
4 | 5
4.6667 | 5
5.3333 | 5
6 | 5
6.6667 | 5
7.3333 | 5
8 | 5
8.6667 | 5
9.3333 | 5
10 | 5
10.6667 | 5
11.3333 | 5
12 | 5
12.6667 | 5
13.3333 | 5
14 | 5
14.6667 | 5
15.3333 | 5
16 | 5
16.6667 | 5
17.3333 | 5
18 | 5
18.6667 | 5
19.3333 | 5
20 | 5
20.6667 | 5
21.3333 | 5
22 | 5
22.6667 | 5
23.3333 | 5
24 | 5
24.6667 | 5
25.3333 | 5
26 | 5
26.6667 | 5
27.3333 | 5
28 | 5
28.6667 | 5
29.3333 | 5
30 | 5
30.6667 | 5
31.3333 | 5
32 | 5
32.6667 | 5
33.3333 | 5
34 | 5
34.6667 | 5
35.3333 | 5
36 | 5
36.6667 | 5
37.3333 | 5
38 | 5
38.6667 | 5
39.3333 | 5
40 | 5
BACK TO INPUT

## Results
ATRANS
Matrix
S.S. PAPADOPULOS & ASS. | S.S. PAPADOPULOS & ASS. | [5 empty] | Select Output Type |  | X offset |  | Y Offset |  | Rotation | XYZ
[9 empty] | 1000 |  | 500 |  | 60
Results for "NO DEGRADATION" model at TIME= 0 and ELEVATION= 130
| DISTANCE | DISTANCE FROM CENTERLINE
|  | -35 | -28 | -21 | -14 | -7 | 0 | 7 | 14 | 21 | 28 | 35
| 0 | 0 | 0 | 0 | 22 | 22 | 22 | 22 | 22 | 0 | 0 | 0
| 0.5 | 1.1122e-06 | 6.3171e-05 | 0.0055837 | 20.3779 | 20.9506 | 20.952 | 20.9506 | 20.3779 | 0.0055837 | 6.3171e-05 | 1.1122e-06
| 1 | 2.2429e-06 | 0.00012732 | 0.01123 | 18.431 | 19.54 | 19.5428 | 19.54 | 18.431 | 0.01123 | 0.00012732 | 2.2429e-06
| 1.5 | 3.3902e-06 | 0.00019226 | 0.016897 | 16.6737 | 18.2473 | 18.2515 | 18.2473 | 16.6737 | 0.016897 | 0.00019226 | 3.3902e-06
| 2 | 4.552e-06 | 0.0002578 | 0.022544 | 15.0835 | 17.0321 | 17.0377 | 17.0321 | 15.0835 | 0.022544 | 0.0002578 | 4.552e-06
| 2.5 | 5.7262e-06 | 0.00032375 | 0.02813 | 13.6717 | 15.9032 | 15.9102 | 15.9032 | 13.6717 | 0.02813 | 0.00032375 | 5.7262e-06
| 3 | 6.9106e-06 | 0.00038991 | 0.033615 | 12.4158 | 14.846 | 14.8545 | 14.846 | 12.4158 | 0.033615 | 0.00038991 | 6.9106e-06
| 3.5 | 8.1032e-06 | 0.00045607 | 0.038962 | 11.3038 | 13.861 | 13.8708 | 13.861 | 11.3038 | 0.038962 | 0.00045607 | 8.1032e-06
| 4 | 9.3017e-06 | 0.00052204 | 0.044135 | 10.3146 | 12.9401 | 12.9513 | 12.9401 | 10.3146 | 0.044135 | 0.00052204 | 9.3017e-06
| 4.5 | 1.0504e-05 | 0.00058763 | 0.0491 | 9.4325 | 12.0803 | 12.0928 | 12.0803 | 9.4325 | 0.0491 | 0.00058763 | 1.0504e-05
| 5 | 1.1707e-05 | 0.00065262 | 0.053829 | 8.6436 | 11.2778 | 11.2916 | 11.2778 | 8.6436 | 0.053829 | 0.00065262 | 1.1707e-05
| 5.5 | 1.291e-05 | 0.00071684 | 0.058294 | 7.9347 | 10.5284 | 10.5435 | 10.5284 | 7.9347 | 0.058294 | 0.00071684 | 1.291e-05
| 6 | 1.411e-05 | 0.00078009 | 0.062474 | 7.2953 | 9.8285 | 9.8447 | 9.8285 | 7.2953 | 0.062474 | 0.00078009 | 1.411e-05
| 6.5 | 1.5304e-05 | 0.00084218 | 0.066348 | 6.7169 | 9.175 | 9.1924 | 9.175 | 6.7169 | 0.066348 | 0.00084218 | 1.5304e-05
| 7 | 1.649e-05 | 0.00090294 | 0.069904 | 6.192 | 8.5649 | 8.5833 | 8.5649 | 6.192 | 0.069904 | 0.00090294 | 1.649e-05
| 7.5 | 1.7666e-05 | 0.00096221 | 0.073128 | 5.7143 | 7.9952 | 8.0147 | 7.9952 | 5.7143 | 0.073128 | 0.00096221 | 1.7666e-05
| 8 | 1.8831e-05 | 0.0010198 | 0.076015 | 5.2785 | 7.4633 | 7.4837 | 7.4633 | 5.2785 | 0.076015 | 0.0010198 | 1.8831e-05
| 8.5 | 1.9981e-05 | 0.0010756 | 0.078561 | 4.88 | 6.9666 | 6.9879 | 6.9666 | 4.88 | 0.078561 | 0.0010756 | 1.9981e-05
| 9 | 2.1114e-05 | 0.0011294 | 0.080765 | 4.515 | 6.5028 | 6.5249 | 6.5028 | 4.515 | 0.080765 | 0.0011294 | 2.1114e-05
| 9.5 | 2.2229e-05 | 0.0011811 | 0.08263 | 4.1801 | 6.0698 | 6.0926 | 6.0698 | 4.1801 | 0.08263 | 0.0011811 | 2.2229e-05
| 10 | 2.3324e-05 | 0.0012306 | 0.084163 | 3.8724 | 5.6656 | 5.689 | 5.6656 | 3.8724 | 0.084163 | 0.0012306 | 2.3324e-05
| 865.4847 | 2077.0381 | 1.2927
| 858.5565 | 2073.0381 | 1.8408
| 851.6283 | 2069.0381 | 2.4853
| 844.7001 | 2065.0381 | 3.179
| 837.7719 | 2061.0381 | 3.8505
| 830.8437 | 2057.0381 | 4.4155
| 823.9155 | 2053.0381 | 4.7934
| 816.9873 | 2049.0381 | 4.9264
| 810.0591 | 2045.0381 | 4.7934
| 803.1309 | 2041.0381 | 4.4155
| 796.2027 | 2037.0381 | 3.8505
| 789.2745 | 2033.0381 | 3.179
| 782.3463 | 2029.0381 | 2.4853
| 775.4181 | 2025.0381 | 1.8408
| 768.4899 | 2021.0381 | 1.2927
| 761.5617 | 2017.0381 | 0.8617
| 754.6335 | 2013.0381 | 0.54599
| 747.7053 | 2009.0381 | 0.32939
BACK TO PLOTS
BACK TO INPUT

## Output
0 | ATRANS
| S.S. PAPADOPULOS & ASSOC. | [7 empty] | 10 |  | 80 |  |  | 105
[8 empty] | # | Time |  | 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10 | 262.5 | 275 | 287.5 | 300 | 312.5 | 325 | 337.5 | 350 | 362.5 | 375 | 387.5 | 400 | 412.5 | 425 | 437.5 | 450 | 462.5 | 475 | 487.5 | 500
|  | Distance from Centerline |  | Time | Elevation | Time Slider | Animation | 1 | 0 | -35 | 0 | 1.1122e-06 | 2.2429e-06 | 3.3902e-06 | 4.552e-06 | 5.7262e-06 | 6.9106e-06 | 8.1032e-06 | 9.3017e-06 | 1.0504e-05 | 1.1707e-05 | 1.291e-05 | 1.411e-05 | 1.5304e-05 | 1.649e-05 | 1.7666e-05 | 1.8831e-05 | 1.9981e-05 | 2.1114e-05 | 2.2229e-05 | 2.3324e-05 | 8.7728e-26 | 1.5852e-27 | 2.3086e-29 | 2.4799e-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 2 | 1 | -28 | 0 | 6.3171e-05 | 0.00012732 | 0.00019226 | 0.0002578 | 0.00032375 | 0.00038991 | 0.00045607 | 0.00052204 | 0.00058763 | 0.00065262 | 0.00071684 | 0.00078009 | 0.00084218 | 0.00090294 | 0.00096221 | 0.0010198 | 0.0010756 | 0.0011294 | 0.0011811 | 0.0012306 | 3.0331e-23 | 5.4494e-25 | 7.8934e-27 | 8.2899e-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| X | Y | Concentration |  |  |  |  | 3 | 3 | -21 | 0 | 0.0055837 | 0.01123 | 0.016897 | 0.022544 | 0.02813 | 0.033615 | 0.038962 | 0.044135 | 0.0491 | 0.053829 | 0.058294 | 0.062474 | 0.066348 | 0.069904 | 0.073128 | 0.076015 | 0.078561 | 0.080765 | 0.08263 | 0.084163 | 4.4266e-21 | 7.9078e-23 | 1.1394e-24 | 1.1701e-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 4 | 4 | -14 | 22 | 20.3779 | 18.431 | 16.6737 | 15.0835 | 13.6717 | 12.4158 | 11.3038 | 10.3146 | 9.4325 | 8.6436 | 7.9347 | 7.2953 | 6.7169 | 6.192 | 5.7143 | 5.2785 | 4.88 | 4.515 | 4.1801 | 3.8724 | 2.7451e-19 | 4.8777e-21 | 6.9924e-23 | 7.0316e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 5 | 5 | -7 | 22 | 20.9506 | 19.54 | 18.2473 | 17.0321 | 15.9032 | 14.846 | 13.861 | 12.9401 | 12.0803 | 11.2778 | 10.5284 | 9.8285 | 9.175 | 8.5649 | 7.9952 | 7.4633 | 6.9666 | 6.5028 | 6.0698 | 5.6656 | 7.3207e-18 | 1.2947e-19 | 1.8478e-21 | 1.8247e-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 6 | 10 | 0 | 22 | 20.952 | 19.5428 | 18.2515 | 17.0377 | 15.9102 | 14.8545 | 13.8708 | 12.9513 | 12.0928 | 11.2916 | 10.5435 | 9.8447 | 9.1924 | 8.5833 | 8.0147 | 7.4837 | 6.9879 | 6.5249 | 6.0926 | 5.689 | 8.587e-17 | 1.5131e-18 | 2.1518e-20 | 2.095e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 7 | 20 | 7 | 22 | 20.9506 | 19.54 | 18.2473 | 17.0321 | 15.9032 | 14.846 | 13.861 | 12.9401 | 12.0803 | 11.2778 | 10.5284 | 9.8285 | 9.175 | 8.5649 | 7.9952 | 7.4633 | 6.9666 | 6.5028 | 6.0698 | 5.6656 | 4.6256e-16 | 8.1304e-18 | 1.1536e-19 | 1.1127e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 8 | 40 | 14 | 22 | 20.3779 | 18.431 | 16.6737 | 15.0835 | 13.6717 | 12.4158 | 11.3038 | 10.3146 | 9.4325 | 8.6436 | 7.9347 | 7.2953 | 6.7169 | 6.192 | 5.7143 | 5.2785 | 4.88 | 4.515 | 4.1801 | 3.8724 | 1.2443e-15 | 2.1845e-17 | 3.096e-19 | 2.9735e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 9 | 60 | 21 | 0 | 0.0055837 | 0.01123 | 0.016897 | 0.022544 | 0.02813 | 0.033615 | 0.038962 | 0.044135 | 0.0491 | 0.053829 | 0.058294 | 0.062474 | 0.066348 | 0.069904 | 0.073128 | 0.076015 | 0.078561 | 0.080765 | 0.08263 | 0.084163 | 1.9486e-15 | 3.4205e-17 | 4.8468e-19 | 4.6517e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 10 | 80 | 28 | 0 | 6.3171e-05 | 0.00012732 | 0.00019226 | 0.0002578 | 0.00032375 | 0.00038991 | 0.00045607 | 0.00052204 | 0.00058763 | 0.00065262 | 0.00071684 | 0.00078009 | 0.00084218 | 0.00090294 | 0.00096221 | 0.0010198 | 0.0010756 | 0.0011294 | 0.0011811 | 0.0012306 | 2.2239e-15 | 3.9044e-17 | 5.5333e-19 | 5.3139e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 11 |  | 35 | 0 | 1.1122e-06 | 2.2429e-06 | 3.3902e-06 | 4.552e-06 | 5.7262e-06 | 6.9106e-06 | 8.1032e-06 | 9.3017e-06 | 1.0504e-05 | 1.1707e-05 | 1.291e-05 | 1.411e-05 | 1.5304e-05 | 1.649e-05 | 1.7666e-05 | 1.8831e-05 | 1.9981e-05 | 2.1114e-05 | 2.2229e-05 | 2.3324e-05 | 2.267e-15 | 3.9804e-17 | 5.6415e-19 | 5.4193e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 12 |  | 129.1667 | 0 | 6.833e-09 | 1.3938e-08 | 2.1272e-08 | 2.8793e-08 | 3.6453e-08 | 4.4203e-08 | 5.1991e-08 | 5.9767e-08 | 6.7477e-08 | 7.5071e-08 | 8.2496e-08 | 8.9704e-08 | 9.6646e-08 | 1.0328e-07 | 1.0956e-07 | 1.1545e-07 | 1.2091e-07 | 1.2593e-07 | 1.3046e-07 | 1.3448e-07 | 2.2239e-15 | 3.9044e-17 | 5.5333e-19 | 5.3139e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 13 |  | 155 | 0 | 9.423e-15 | 1.925e-14 | 2.9455e-14 | 4.001e-14 | 5.0886e-14 | 6.2048e-14 | 7.3461e-14 | 8.5089e-14 | 9.6891e-14 | 1.0883e-13 | 1.2086e-13 | 1.3293e-13 | 1.4502e-13 | 1.5706e-13 | 1.6902e-13 | 1.8084e-13 | 1.925e-13 | 2.0393e-13 | 2.151e-13 | 2.2597e-13 | 1.9486e-15 | 3.4205e-17 | 4.8468e-19 | 4.6517e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 14 |  | 128.5714 | 0 | 0.00020815 | 0.00045228 | 0.00073232 | 0.0010473 | 0.0013952 | 0.0017734 | 0.002178 | 0.0026046 | 0.0030482 | 0.0035031 | 0.0039635 | 0.0044234 | 0.0048767 | 0.0053176 | 0.0057407 | 0.006141 | 0.006514 | 0.006856 | 0.0071639 | 0.0074353 | 1.2443e-15 | 2.1845e-17 | 3.096e-19 | 2.9735e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 15 |  | 150 | 0 | 9.6475e-06 | 2.1027e-05 | 3.4222e-05 | 4.9292e-05 | 6.6272e-05 | 8.5168e-05 | 0.00010595 | 0.00012858 | 0.00015295 | 0.00017895 | 0.00020643 | 0.00023522 | 0.00026511 | 0.00029587 | 0.00032726 | 0.00035904 | 0.00039092 | 0.00042265 | 0.00045395 | 0.00048457 | 4.6256e-16 | 8.1304e-18 | 1.1536e-19 | 1.1127e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 16 |  | 100 | 0 | 0.11437 | 0.16109 | 0.17165 | 0.17025 | 0.16486 | 0.15827 | 0.15153 | 0.14504 | 0.13894 | 0.13328 | 0.12804 | 0.1232 | 0.11873 | 0.11458 | 0.11074 | 0.10717 | 0.10384 | 0.10073 | 0.097817 | 0.09508 | 8.587e-17 | 1.5131e-18 | 2.1518e-20 | 2.095e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 17 |  | 105 | 0 | 1.0043e-06 | 2.0545e-06 | 3.1328e-06 | 4.2202e-06 | 5.2973e-06 | 6.3449e-06 | 7.3447e-06 | 8.2798e-06 | 9.1352e-06 | 9.8982e-06 | 9.7074e-06 | 8.5324e-06 | 7.3312e-06 | 6.1726e-06 | 5.1035e-06 | 8.5324e-06 | 7.6298e-06 | 6.7432e-06 | 5.8956e-06 | 5.1035e-06 | 7.3207e-18 | 1.2947e-19 | 1.8478e-21 | 1.8247e-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 18 |  | 122.5 | 0 | 1.4048e-10 | 2.8878e-10 | 4.4388e-10 | 6.0466e-10 | 7.699e-10 | 9.3828e-10 | 1.1084e-09 | 1.2789e-09 | 1.4483e-09 | 1.6152e-09 | 3.0394e-09 | 3.0313e-09 | 2.9656e-09 | 2.8501e-09 | 2.694e-09 | 3.0313e-09 | 2.987e-09 | 2.9135e-09 | 2.8145e-09 | 2.694e-09 | 2.7451e-19 | 4.8777e-21 | 6.9924e-23 | 7.0316e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 19 |  | 140 | 0 | 2.9149e-14 | 6.001e-14 | 9.2477e-14 | 1.2642e-13 | 1.6171e-13 | 1.9818e-13 | 2.3567e-13 | 2.7399e-13 | 3.1294e-13 | 3.5234e-13 | 8.4102e-13 | 8.8291e-13 | 9.1224e-13 | 9.2874e-13 | 9.3258e-13 | 8.8291e-13 | 9.0611e-13 | 9.221e-13 | 9.3087e-13 | 9.3258e-13 | 4.4266e-21 | 7.9078e-23 | 1.1394e-24 | 1.1701e-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 20 |  | 157.5 | 0 | 7.1157e-18 | 1.466e-17 | 2.262e-17 | 3.0978e-17 | 3.9714e-17 | 4.8805e-17 | 5.8225e-17 | 6.7946e-17 | 7.7937e-17 | 8.8163e-17 | 2.3746e-16 | 2.5606e-16 | 2.7231e-16 | 2.859e-16 | 2.966e-16 | 2.5606e-16 | 2.6849e-16 | 2.7945e-16 | 2.8885e-16 | 2.966e-16 | 3.0331e-23 | 5.4494e-25 | 7.8934e-27 | 8.2899e-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 175 | 0 | 1.8978e-21 | 3.9118e-21 | 6.0403e-21 | 8.2807e-21 | 1.063e-20 | 1.3085e-20 | 1.5641e-20 | 1.8293e-20 | 2.1036e-20 | 2.3863e-20 | 6.9127e-20 | 7.5769e-20 | 8.2011e-20 | 8.7748e-20 | 9.2889e-20 | 7.5769e-20 | 8.0494e-20 | 8.4948e-20 | 8.9093e-20 | 9.2889e-20 | 8.7728e-26 | 1.5852e-27 | 2.3086e-29 | 2.4799e-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 80 |  |  | 105
[8 empty] | Combobox Swiitch |  |  | 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10 | 262.5 | 275 | 287.5 | 300 | 312.5 | 325 | 337.5 | 350 | 362.5 | 375 | 387.5 | 400 | 412.5 | 425 | 437.5 | 450 | 462.5 | 475 | 487.5 | 500
[8 empty] | 1 |  | 1st order Decay | 22 | 20.952 | 19.5428 | 18.2515 | 17.0377 | 15.9102 | 14.8545 | 13.8708 | 12.9513 | 12.0928 | 11.2916 | 10.5435 | 9.8447 | 9.1924 | 8.5833 | 8.0147 | 7.4837 | 6.9879 | 6.5249 | 6.0926 | 5.689 | 2.267e-15 | 3.9804e-17 | 5.6415e-19 | 5.4193e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | Plume Type |  | No Degradation | 22 | 22.3729 | 22.2858 | 22.2244 | 22.1543 | 22.0902 | 22.0226 | 21.957 | 21.8901 | 21.8229 | 21.756 | 21.6886 | 21.6209 | 21.553 | 21.4849 | 21.4166 | 21.3479 | 21.2791 | 21.21 | 21.1407 | 21.0713 | 2.4263e-15 | 4.2605e-17 | 6.0392e-19 | 5.8041e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2
Source Type
1
Active Obs
2
Active Plot
[8 empty] | 1 | 1
6
8
7
Elevation
130
121.67
113.33
105
96.67
88.33
80
98
92
86
80
3D PLOT
Contour Plot
Centerline Plot
Back To Input
Show No Degradation
Show Numerical Results

## Main
Show No Degradation | ATRANS
Constant Concentration
| S.S. PAPADOPULOS & ASSOC. |  |  | Version 1.06 | [8 empty] | 1 | Exponentialy-decaying Conc.
Arbitrary inflow concentration. Set of points
Arbitrary inflow concentration. Set of steps
| INPUT PARAMETERS |  |  |  | MODEL DISCRETIZATION
| Seepage Velocity | 34.48 | V | [L/T] | Starting coordinate (x axis) |  |  | Xmin [L] | 0
| Aquifer porosity | 0.3 | e | - | Ending coordinate (x axis) |  |  | Xmax [L] | 5 | [6 empty] | 1
| Aquifer Top Elevation | 140 | B2 | [L] | Number of discretization Points (x) |  |  | NX [-] | 20
| Aquifer Bottom Elevation | 0 | B1 | [L] | Starting coordinate (y axis) |  |  | Ymin [L] | -35
| Longitudinal Dispersivity | 27 | aL | [L] | Ending coordinate (y axis) |  |  | Ymax [L] | 35
| Transverse Dispersivity | 2.7 | aTH | [L] | Number of discretization Points (y) |  |  | NY [-] | 10
| Vertical Dispersivity | 0.27 | aTV | [L] | Modeled Area Bottom Elevation |  |  | Zmin | 80
| Effective Diffusion Coeff. | 0.001 | D* | [L2T-1] | Modeled Area Top Elevation |  |  | Zmax | 130
| Retardation Factor | 2.55 | R | [-] | Number of discretization Points (z) |  |  | NZ [-] | 6
| 1st Order Decay Coeff. | 8.6625 | l | [T-1]
| Total source width along y-axis | 30 | 2Y0 | [L] | OBSERVATION DATA
| Elevation at the top of the source | 120 | Z2 | [L] |  | Time Steps | Time Start | Time Increment | Time End | TIME DISCRETIZATION |  | OUTPUT
| Elevation at the bottom of the source | 90 | Z1 | [L] |  | 100 | 0 | 0.5 | 50
| SOURCE TYPE | 1 |  |  | Number of Observation Points |  |  | 3 | Measured Conc. | NTIMES | 10
| Source Concentration | 22 | Co | [ML-3] | Name | X coord. | Y coord. | Elevation |  | # | Time
[5 empty] | MW28 | 0 | 0 | 5 |  | 1 | 0
[5 empty] | MW-37 | 10 | 0 | 5 |  | 2 | 1
[5 empty] | MW-25 | 50 | 5 | 6 |  | 3 | 3
[10 empty] | 4 | 4
[10 empty] | 5 | 5
[10 empty] | 6 | 10
[10 empty] | 7 | 20
[10 empty] | 8 | 40
[10 empty] | 9 | 60
[10 empty] | 10 | 80
1
Note on H18: Number of Time Steps, Starting Time and Time Increment for computing concetrations at the observation points
SHOW RESULTS
SHOW SOURCE HISTORY
SHOW OBSERVATIONS
SHOW DISCRETIZATION
SHOW

## Chart2
BACK TO INPUT

## Chart1
BACK TO INPUT