## Table 1
Analysis | Analysis | Analysis | Analysis | Analysis | Analysis | EPA-TO-15
Fraction | Fraction | Fraction | Fraction | Fraction | Fraction | N
Sample ID | SDG | Sample Date | Lab Sample ID | Matrix | Type
G102S150708 | 1507089 | 2015-07-08 10:45 | 1507089-005A | G | N | X
G15D150709 | 1507089 | 2015-07-09 09:13 | 1507089-010A | G | N | X
G15S150709 | 1507089 | 2015-07-09 09:03 | 1507089-009A | G | N | X
G16D150708 | 1507089 | 2015-07-08 16:02 | 1507089-018A | G | N | X
G16S150708 | 1507089 | 2015-07-08 15:30 | 1507089-012A | G | N | X
G17D150708 | 1507089 | 2015-07-08 14:00 | 1507089-002A | G | N | X
G17S150708 | 1507089 | 2015-07-08 13:52 | 1507089-007A | G | N | X
G18D150708 | 1507089 | 2015-07-08 13:42 | 1507089-016A | G | N | X
G18S150708 | 1507089 | 2015-07-08 13:36 | 1507089-006A | G | N | X
G19D150708 | 1507089 | 2015-07-08 13:25 | 1507089-014A | G | N | X
G19S150708 | 1507089 | 2015-07-08 13:18 | 1507089-011A | G | N | X
G20D150708 | 1507089 | 2015-07-08 13:07 | 1507089-015A | G | N | X
G20S150708 | 1507089 | 2015-07-08 12:55 | 1507089-013A | G | N | X
G56S150708 | 1507089 | 2015-07-08 10:05 | 1507089-019A | G | N | X
G58S150708 | 1507089 | 2015-07-08 09:40 | 1507089-004A | G | N | X
G60S150708 | 1507089 | 2015-07-08 09:15 | 1507089-003A | G | N | X
G62S150708 | 1507089 | 2015-07-08 11:40 | 1507089-001A | G | N | X
GB6-150708 | 1507089 | 2015-07-08 08:45 | 1507089-008A | G | N | X
GG8-150708 | 1507089 | 2015-07-08 11:05 | 1507089-017A | G | N | X

## Table 2
Sample Name | Constituent | Fraction | Lab Qualifier | Interpreted Qualifier | Reason
GG8-150708 | 2-BUTANONE | NA | E | E | Result Exceeded instrument calibration range. Analyte is present in sample in excess of intrument range. Number is purely estimate, and should not be used.
G60S150708 | ISOPROPYL ALCOHOL | NA | I | JL | Internal Standard does not meet acceptance criteria. Estimated with potential high bias.
G60S150708 | ACETONE | NA | I | JL | Internal Standard does not meet acceptance criteria. Estimated with potential high bias.
G60S150708 | DICHLORODIFLUOROMETHANE | NA | I | JL | Internal Standard does not meet acceptance criteria. Estimated with potential high bias.
Abbreviations:
%R - percent recovery
LCS - Laboratory control sample / Blank Spike
MDL - method detection limit
QL - Quantitation Limit
RL - Reporting Limit
Interpreted Qualifier Definitions:
G - Biased Low (estimated)
J - Estimated Result
JTG - Detected below RL, biased low.
T - Result detected between MDL and RL/QL
UJ - Non-detect result estimated
UJG - Non-detect Biased Low
JL - Estimate with potential High Bias
E - Exceeds instrument calibration range