# Marinas and Small Fueling Facilities

## Introduction

In 2006, the Department of Ecology (Ecology) adopted new rules regarding oil transfers and they include requirements for marinas and other small fueling facilities. The rules are found in the Washington Administrative Code (WAC) 173-180.  This focus sheet will help you understand the new rule and includes contact information should you need additional help.

## Why has Ecology developed oil transfer rules?

To tackle oil spill issues, state lawmakers mandated a “zero spills” goal in 2004 and directed Ecology to adopt new rules to prevent spills and keep adverse environmental effects to a minimum for oil spills that may occur.  Although the risk of a catastrophic spill at a small marina or marine fueling station is slight, the rules recognize that small drips, leaks, and spills frequently occur at marinas. Cumulatively these spills degrade the quality of our waters.

WAC 173-180 establishes spill prevention and early response standards for four classes of facility operators involved in bulk oil transfers.

## How can I tell if this rule applies to me?

Fueling facilities are divided into four classes based on oil-handling activities.  If you are a marina or small fueling facility and transfer fuel, in bulk, to non-recreational vessels with a total oil capacity of less than 10,500 gallons, you are considered a regulated Class 4 facility for the purposes of this rule.  To meet the WAC requirements, Class 4 facilities may use Ecology form ECY070-242.  If you transfer to a non-recreational vessel with a total oil capacity of 10,500 gallons or greater, even once, your facility is considered a Class 3 facility.  Please see focus sheets for Class 1, 2, and 3 facilities for those requirements.  These rules do not apply to marinas or fueling stations that transfer exclusively to recreational vessels.

## What does this rule require me to do?

The requirements for Class 4 facilities are found in Part A and portions of Part B of WAC 173-180 and include:

- The ability to clean up a spill of at least 25 gallons with resources kept on site.  This means having at least 200 feet of boom on standby, along with oil spill sorbent materials, shovels, buckets, containers, and protective clothing.

- Providing oil spill prevention and response training for employees involved in oil transfer operations. This training must then be given annually and must include at a minimum:

- Providing training for oil transfer personnel on the dangers and safe practices for handling the petroleum                           products transferred at that location.

- Providing training on the safe and effective use and handling of response and recovery equipment.

- Providing training on proper spill reporting requirements.

- Develop policies and procedures to provide oil spill prevention and response training to all new employees within 90 days of the date of hire.

- Keep and maintain records of employee oil transfer training at the Class 4 facility and make these records available to Ecology upon request.

- Provide each employee with a wallet-sized card listing oil spill notification telephone numbers.

- Install highly visible signs at the transfer area showing state oil spill notification numbers and the number of an oil spill response contractor who would be able to respond to a spill at the marina.

- Post a 24-hour phone number for a person designated by the owner or operator who can start the spill response.

- Collect data on the types, and volumes of oil transferred by oil type for the required semi-annual reports (sample provided on the next page).  The oil transfer reporting forms are due on January 15 and July 15 annually.

- Ensure all transfer equipment is periodically and properly inspected, maintained, and tested according to WAC 173-180-205.

- Keep records of the oil transfer equipment according to WAC 173-180-040.

Ecology inspectors may periodically visit Class 4 facilities to ensure compliance with the rules.

### For more information or technical assistance contact:

Washington Department of Ecology
Spill Prevention, Preparedness, and Response Program
Prevention Section
PO Box 47600
Olympia, WA 98504-7600
Olympia Office: 360-407-7455 
Fax: 360-407-7288 or 1-800-664-9184

Email for questions about the rule: OilTransferRule@ecy.wa.gov
Ecology Spills Program web site: http://www.ecy.wa.gov/programs/spills/spills.html

Class 4 facilities must report bulk oil transfer operations involving non-recreational vessels to Ecology on January 15 and July 15 annually. Class 4 facilities may use this form to meet the requirements found in WAC 173-180-210 (6). This rule does not apply to marinas or fueling stations that transfer exclusively to recreational vessels.

NOTE: Class 4 facilities may include recreational vessel transfers in the total if that information is not separated.

Send completed form to:

Washington Department of Ecology

Spill Prevention, Preparedness, and Response Program

P.O. Box 47600

Olympia, WA 98504-7600

OR

Email: OilTransferNotifications@ecy.wa.gov

Please use the subject heading “Class 4 Facility Transfer Report”

Ecology Spills Program web site: http://www.ecy.wa.gov/program/spills/spills.html

Time Period Covered:     January1-June 30  	           July 1-December 31

Company Name:

Mailing Address:

Physical Location of Transfers (if different):

Contact Person:

Phone Number:

Types and Volume of ALL Oil Transferred:

Gasoline 	Diesel

Lube	Hydraulic

Aviation Gas	Other

Additional Comments:

Signature	Date

# Text boxes

WASHINGTON STATE

Department of Ecology

Spill Prevention, Preparedness, and Response Program

Prevention Section

P.O. Box 47600, Olympia, WA 98504-7600

Office Phone: (360) 407-7455, Fax: (360) 407-7288 or toll free 1-800-664-9184

## MARINAS AND SMALL FUELING FACILITIES – CLASS 4

## Oil Transfer Reporting Form

### WHY IT MATTERS

Although the risk of a catastrophic spill at a small marina or marine fueling station is slight, the oil transfer rules recognize that small drips, leaks, and spills frequently occur at marinas. Cumulatively these spills degrade the quality of our waters.

### DEFINITION

A recreational vessel is a vessel owned and operated only for pleasure with no monetary gain involved, and if leased, rented, or chartered to another for recreational use, is not used for monetary gain.  This definition applies to vessels such as house boats, ski boats, and other small craft on a rental or lease agreement.

If a vessel does not meet the definition of a recreational vessel it is considered a non-recreational vessel. Some examples of non-recreational vessels are sight seeing or tour boats, passenger vessels, chartered fishing boats, boats used for parasailing, tug boats, etc.  This definition is not based on the vessel’s size, but instead on its use.

### Special accommodations:

If you need this publication in an alternate format, call the Spills Program at 360-407-7455. Persons with hearing loss, call 711 for Washington Relay Service. Persons with a speech disability, call 877-833-6341.