PILES USED FOR STORAGE OR TREATMENT Checklist for Review of Solid Waste Permit Application per WAC 173-350-320

| Name of Applicant: | Name of Facility: |
| --- | --- |
| Permit # assigned by Health Department: | Date Received: |
| Lead Agency Reviewer Name: Phone: Signature: | Determination of Compliance with: The Site or Facility: meets all solid waste, air and other applicable laws and regulations conforms with the approved comprehensive solid waste handling plan complies with zoning requirements (JHD only) |
|  Location requirements WAC 173-350-320(2) | Location of material | Complete | Meets Requirements | Date & Initials of Reviewer) |
| There are no specific location standards for piles subject to this chapter; however waste piles must meet the requirements provided under WAC 173-350-040(5). |  |  |  |  |
| Agency Comments: |
|  Design Standards WAC 173-350-320(3) | Location of material | Complete | Meets Requirements | Date & Initials of Reviewer) |
| Maximum waste capacity, elevation and boundaries of the waste pile are provided. |  |  |  |  |
| All piles shall be designed to: |  |  |  |  |
| Control public access |  |  |  |  |
| Comply with the uniform fire code as implemented through the local fire control agency |  |  |  |  |
| Minimize vector harborage to the extent practicable |  |  |  |  |
| Provide all-weather approach roads and exits |  |  |  |  |
| Piles of putrescible waste, contaminated soils or dredged material, or waste determined by the jurisdictional health department to be likely to produce leachate posing a threat to human health or the environment shall also: |  |  |  |  |
| Place waste on a sealed surface, such as concrete or asphaltic concrete, to prevent soil and ground water contamination. The surface shall be durable enough to withstand material handling practices |  |  |  |  |
| JHD approved other types of surfaces, such as engineered soil NA  |  |  |  |  |
| include an analysis of the surface under the stresses expected during operations |  |  |  |  |
| include the design of the surface water management systems including run-on prevention and runoff conveyance, storage, and treatment |  |  |  |  |
| Control run-on and runoff from a twenty-five-year storm, as defined in WAC 173-350-100 |  |  |  |  |
| Agency Comments: |
|  Plan of operations WAC 173-350-320(4)(e) | Location of material | Complete | Meets Requirements | Date & Initials of Reviewer) |
| Describes the types of solid wastes to be handled at the facility (4)(e)(i) |  |  |  |  |
| Describes how solid wastes are to be handled on-site during the facility’s life including (4)(e)(ii) |  |  |  |  |
| The maximum amount of waste to be stored or treated in pile(s) at the facility |  |  |  |  |
| Methods of adding and removing waste from the pile and equipment used |  |  |  |  |
| Describes how equipment, structures and other systems are to be inspected and maintained, including the frequency of inspection and inspection logs (4)(e)(iii) |  |  |  |  |
| Safety and emergency plans (4)(e)(iv) |  |  |  |  |
| Forms used to record volumes or weights (4)(e)(v) |  |  |  |  |
| Other such details to demonstrate that the facility will be operated in accordance with subsection 4(a) – (d) & (f) and as required by the JHD (4)(e)(vi) |  |  |  |  |
| Additional elements for contaminated soils & dredged material (4)(f)(iii) |  |  |  |  |
| A description of contaminants and concentrations (4)(f)(iii)(A) |  |  |  |  |
| Sampling and analysis plan used to characterize soils & dredged material (4)(f)(iii)(B) |  |  |  |  |
| Forms used to record source, characterization, and final disposition (4)(f)(iii)(C) |  |  |  |  |
| Agency Comments: |
|  Ground Water Monitoring Requirements WAC 173-350-320(5) | Location of material | Complete | Meets Requirements | Date & Initials of Reviewer) |
| There are no specific ground water monitoring requirements for piles subject to this chapter; however, waste piles must meet the requirements provided under WAC 173-350-040(5) |  |  |  |  |
| Agency Comments: |
|  Closure plan WAC 173-350-320(6)(b) | Location of material | Complete | Meets Requirements | Date & Initials of Reviewer) |
| Methods of removing wastes |  |  |  |  |
| Steps taken for decontamination |  |  |  |  |
| Agency Comments: |
|  Financial Assurance Requirements WAC 173-350-320(7) | Location of material | Complete | Meets Requirements | Date & Initials of Reviewer) |
| There are no specific financial assurance requirements for piles subject to this chapter; however, waste piles must meet the requirements provided under WAC 173-350-040(5) |  |  |  |  |
| Agency Comments: |

If you require this publication in an alternate format, please contact the Solid Waste & Financial Assistance Program at 360-407-6900.

For persons with a speech or hearing impairment call 711 for relay service or 800-833-6388 for TTY.