Name of Facility: ____________________________________________________________________________________

Mailing Address: ____________________________________________________________________________________

Name(s) of personnel interviewed: ______________________________________________________________________

The volume and type of oil(s) handled by the facility, and frequency of oil-handling operations:  __________________________________________________________________________________________________

Number of facility personnel: __________________________________________________________________________

Ecology Reviewer: __________________________________ Review Date/Time: ________________________________

* Check Mark “√” denotes compliance,   “X” denotes a violation,   “N/A” = Not Applicable

WAC 173-180-040 Recordkeeping

____ 	Facility has required training and certification records available for review for five years from the date the persons were certified.

____ 	Facility keeps the preload plans and declaration of inspection (DOI) for at least thirty days from date of the oil transfer operation.

____ 	Facility has the design, construction, and repair records for all oil transfer equipment. The testing and repair records are kept for the life of the equipment.

WAC 173-180-055 Work hours

____ 	Facility has records demonstrating compliance with work hour restrictions.

WAC 173-180-060 Personnel Qualifications

____ 	Facility has list of designated Person(s)-in-Charge (PICs). (Attach list to checklist.)

____ 	All PICs on list have completed the training and certification program.

Documents checked: ___________________________________________________________________________

____ 	Facility follows federal laws and rules pertaining to training qualifications for all key operational and supervisory personnel involved in transfer operations.

WAC 173-180-445 Class 2 facility--Operations manual

____ 	Facility ensures all regular and new employees involved in oil transfer operations are familiar with the operations manual.  Frequency of training: __________________________________________________________________

WAC 173-180-535 Certification Program and WAC 173-180-540 Certification of Personnel

____ 	Facility has a certification program for all key supervisory and/or operations personnel who have completed the training program requirements for their position, and have passed a competency evaluation.

____	Certification program identifies key supervisory and operations personnel who must participate in the program. (Attach list of personnel to checklist)

____ 	Personnel identified as participating in the Certification Program are certified. 
Documents checked: ___________________________________________________________________________

____ 	Certification program requires all new employees with oil transfer duties to be trained and certified within 90 days of hire date.

____ 	Certification program requires personnel to be recertified every 3 years by completing the facility’s continuing education requirements and passing a competency evaluation.

WAC 173-180-530 Oil Transfer Training Requirements

____ 	Training program lists all specific position titles subject to training requirements.

____ 	Training program covers all key supervisory and operations personnel. (Attach list to checklist if different from the Certification Program list)

____ 	Training program identifies specific classroom or on-the-job oil transfer training for each position.  Minimum hours required: _______________________________________________________________________________

____ 	Training program has written training materials such as manuals or checklists.

____ 	Facility has written oil transfer training materials, such as training manuals or facility-specific procedures, equipment use manuals, supervised practice sessions, to provide on-the-job training to new operations personnel.

____ 	Training program describes method for addressing the language issues and ensuring the training is understood for non-English speaking personnel. (If applicable)

____ 	Training program has a method for documenting how a person received the required training in the past, or a method to demonstrate how a person meets the requirements of WAC 173-180-530, for personnel that entered the position prior to the adoption of WAC 173-180-530.

____ 	Training program considers contractors hired by the facility to perform key supervisory and operations functions to be "personnel" and are subject to the same oil transfer training requirements as facility employees.  The program has a method to validate that contractors have met the facility's oil transfer training requirements before they perform key supervisory and operations functions.

____ 	Required training includes the following:

____ 	Overview of oil handling, transfer, and monitoring operations

____ 	Procedures and checklists specific to job function

____ 	Preventive maintenance procedures

____ 	Awareness of oil spill impacts

____ 	Major components of facility operations manual

____ 	Major components of facility response plan

____ 	Safe use and handling of response equipment for containment, personal protection and recovery equipment

____ 	Decision making for abnormal operating events and emergencies, including emergency spill prevention and safe shutdown conditions, responsibilities and procedures

____ 	Routine and emergency communication procedures

____ 	Overview of applicable oil spill response laws and regulations

____ 	Drug and alcohol use awareness

____ 	24 hour HAZWOPER training for key supervisory and operations personnel

____ 	Training program requires annual continuing education training for key supervisory and operations personnel

____ 	Continuing education program includes the following:

____ 	Review and analyze for causal factors and lessons learned any spills which occurred during the past year

____ 	Eight hour HAZWOPER

____ 	Refresher training on emergency spill prevention procedures

____ 	Refresher training on spill cleanup and recovery operations

____ 	Program requires follow-up training after any spill to all key supervisory and operations personnel to address the causes of the spill.  This training is then incorporated into the continuing education training program.

COMMENTS / RECOMMENDATIONS

- Facility in compliance with State Oil Transfer Regulations.

- Facility in violation of State Oil Transfer Regulations as identified. Corrective measures required.

Manager/operator: _________________________________________________________________________________

Inspector: ________________________________________________   Date: __________________________________

* Check Mark “√” denotes compliance,   “X” denotes a violation,   “N/A” = Not Applicable                         page 2 of 2

# Text boxes

WASHINGTON STATE

Department of Ecology

Spill Prevention, Preparedness, and Response Program

# PREVENTION SECTION

PO Box 47600, Olympia, WA 98504-7600

Office: (360) 407-7455, Fax: (360) 407-7288 or toll free 1-800-664-9184

### Mobile Oil Handling Facilities (tank trucks, railcars, portable tanks)

### Class 2 - Training & Certification Records

## COMPLIANCE REVIEW CHECKLIST