Water Resources Program - Dam Safety Office

Dam Safety Office- Emergency Action Plan

Project Name: ____________________________

DSO File Number: ________________________

Location: ________________________________

(City/Town, County, and Stream)

Location Map

Prepared by: ____________________________________

OWNER: __________________________________________________

ISSUE DATE: ______________________________________________

REVISED DATE: ___________________________________________

Table of Contents

INTRODUCTION AND INSTRUCTIONS 	__

BASIC EMERGENCY ACTION PLAN DATA	__

Purpose

Potentially Impacted Area

Dam Description

Directions to Dam

EMERGENCY ACTION PLAN FLOWCHART	__

ROLES AND RESPONSIBILITIES	__

Dam Owner
 	Local Emergency Manager
 	Washington State Division of Emergency Management 
 	Department of Ecology, Dam Safety Office
 	Emergency Services

DETERMINING THE EMERGENCY LEVEL	__

FIVE STEP EAP PROCESS

Emergency Level 1 - (Unusual event, slowly developing situation)	__

Emergency Level 2 - (Potential dam failure, rapidly developing)	__

Emergency Level 3 - (Urgent; dam failure appears imminent or is in progress	__

MAINTENANCE – EXERCISES, REVIEW, REVISION & EAP LOCATIONS 	__

APPENDIXES A & B: -- MAPS, SUPPORTING DATA, FORMS, & GLOSSARY

Appendix A	__

Appendix A-1 Location and Vicinity Maps	__

Appendix A-2 Inundation Map	__

Appendix A-3 Resources Available	__

Appendix A-4 Summary of People/Structures at Greatest Risk	__

Appendix A-5 Roadways at Risk 	__

Appendix A-6 Plan and Profile View of Dam 	__

Appendix A-7 Reservoir Elevation Area-Capacity Data	__

Appendix B	__

Appendix B-1 Emergency Level Examples	__

Appendix B-2 Contact Checklist	__

Appendix B-3 Unusual or Emergency Event Log	__

Appendix B-4 Dam Emergency Event Report	__

Appendix B-5 Dam Hazard Classification Chart	__

Appendix B-6 Glossary of Terms w/ water equivalents table	__

Appendix B-7 Signature Page (Concurrences)	__

Introductions and Instructions:

Introduction:

The Department of Ecology, Dam Safety Office (DSO) has developed this Emergency Action Plan (EAP) template to help dam owners (or their representatives) create an EAP that will be used in case of an unusual event or emergency.  The goal of the form is to provide a useful EAP for significant and high hazard dams under state jurisdiction.  The format for the EAP form was developed from the National Dam Safety Program and existing guidelines established by the DSO.

Purpose:

The purpose of this EAP is to reduce the risk of injury or loss of life and to minimize property damage during an unusual event or emergency.  The EAP defines responsibilities and provides procedures designed to:

- Identify conditions that may endanger the dam.

- Begin remedial actions to prevent or minimize the downstream impacts of a dam failure.

- Notify local emergency personnel and effectively communicate conditions.

- Warn downstream residents of impending or actual failure of the dam.

- Conclude the response to the unusual or emergency event.

Instructions:

There are two parts to the EAP form; the unique information that you, the dam owner, must supply to complete the form, and the procedures listed in the Emergency Action Plan.

- Use the “Guidelines for Developing Dam Emergency Action Plans” to help develop your EAP.  The publication is available in several formats: online, on disk, or in print available through this office.

- Please review the “Guidelines” and EAP form, including the glossary at the end of this document, before gathering the information requested.

- Contact the DSO, if you have no engineer available, for engineering assistance to develop an inundation map, or to resolve other technical issues.

- Verify all names and phone numbers of residents and facilities in the flood path where possible.

- Assure emergency supplies, equipment, and contractors are readily available.

- Confirm the level of assistance your local emergency responders can supply; determine who is in charge of evacuations, roadblocks and emergency supplies.

The Dam owner will provide the following:

- Basic contact information.

- Information about the dam, including the dam’s condition, type, height, crest width, and any other pertinent information.

- Contact numbers for emergency personnel and for residences in the flood path where appropriate.

- Coordination plans relating to local emergency management agencies.

The DSO will provide the following:

- The dam’s Downstream Hazard Classification as Low, Significant, or High Hazard.

- Review the Emergency Action Plan.

- Inundation maps for dam owners who do not have the resources to hire an engineer.

- Technical assistance.

General Guidelines:

To make best use of the EAP, you must become familiar with each step of the plan.  Please review and/or complete the following pages prior to finalizing the information requested in the Five Step Emergency Action Plan.  Use the “Guidelines for Developing Dam Emergency Action Plans” for assistance.  If you have additional questions, please contact this office.

- COMPLETE the Basic EAP Data.  This section includes contact information and any information specific to your dam.

- REVIEW the Five Step Plan flowchart, and the steps to follow.

- REVIEW the Roles and Responsibility section; determine who is responsible for individual duties and tasks.  Remember it is important that no one person becomes overwhelmed during an unusual event.

- COMPLETE the Emergency Services & Contacts List.  Use the information gathered above to complete this list.

- REVIEW Event Detection.  An unusual or emergency event can be detected and reported in a number of ways.

- REVIEW and become familiar with the Emergency Level Determination & Emergency Level Guidance table.  Use this section when inspecting your dam; you will then be able to determine quickly which emergency level is appropriate during an event.

- Contact the Dam Safety Office at (360) 407-6208 during business hours for current contact information and telephone numbers.

- Adjust the plan and procedures as needed for your dam and its surroundings.  For example;

  - High hazard dams in a heavily populated area may need to initiate the Five Step EAP process whenever any unusual event occurs.

- If the location of a dam only allows for remote monitoring and has limited access, the dam owner will need to plan accordingly on how to receive data regarding the condition of the dam.

- Take the time to develop emergency response procedures for unusual situations that happen after normal working hours and at night.

- You may also edit the format of the Emergency Action Plan to include only those parts of the plan that are specific to your project, such as the contact and supply lists.

- Also available is a Simplified Emergency Action Plan form.  This form is suitable for smaller dams with a limited number of residences at risk.

Signature Page: (Concurrences)

After a plan is developed and approved by the Department of Ecology Dam Safety Office, the plan will be “signed off” by the various responsible parties.  This will establish that they have reviewed the plan and agree to the tasks and responsibilities assigned.  The Signature page is located in Appendix B-7.

Basic EAP Data:

Potentially Impacted Area:

Please describe the property downstream of the dam: (agricultural, residential, industrial, critical wildlife habitat, etc.) _________________________________________________________________________.

Additional information on impacted areas if available:  ________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

Located on: ________________________________________________________________ Creek/River

Downstream Flood Path: _____________________________Creek/River to_______________________

Creek/River____________________________ to ____________________________________River, etc.

Description of the Dam:

Official Dam Name: ____________________________________________________________________

State I.D. Number: _____________________________________________________________________

Dam Owner and/or Operator: _____________________________________________________________

Mailing Address:_______________________________________________________________________

Owner and/or Operator Contact Numbers: (_____)_____-_________  (_____)_____-__________

Section _________Township _________ Range __________W.M.	    County:______________________

Type of Dam: (earthfill, concrete, rockfill, or:)________________________________________________

Dam Height: ____________________Crest Length: _________________Crest Width:________________

Downstream Hazard Classification: ________________________________________________________

Number of Homes in the Dam break floodplain: ______________________________________________

Complete the contact list for persons downstream affected by flood waters in Step 3.

Directions to the Dam: _________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

The Five Step Emergency Action Plan:

Emergency Action Plan Overview

Step 1:

Event Detection

Step 2:

Emergency Level

Determination

Step 3:

Notification and

Communication

Step 4:

Expected Actions

Step 5:

Termination and

Follow up

Roles and Responsibilities:

Dam Owner or Operator: ____________________ (_____)_____-_________,(_____)_____-_________

primary phone		     secondary phone(s)

As soon as an emergency event is observed, or reported:

- Determine the emergency level (see Emergency Levels table, page __ )

-Level 1: unusual event, slowly developing 
  	-Level 2: potential dam failure, rapidly developing 
 	-Level 3: dam failure appears to be imminent or is in progress

- Call 911, for Level 2 or 3 Emergencies

- Immediately notify the appropriate personnel for the emergency level in the order shown in Emergency Services & Other Contacts* list, next page.

- Continue to provide updates of the situation to the ____________________ Office of Emergency Management at: (_____)_____-_____________ or other emergency personal.  This information is needed to make timely and accurate decisions regarding warnings and evacuations.

*Developing an Emergency Contacts List

Contact the agencies listed in the Guidelines for Developing Dam Emergency Action Plans to identify who will do what during an emergency.  Update this information whenever the EAP is revised.

To request a copy of this publication call (360)407-6872  e-mail WRPublications@ecy.wa.gov, or visit our website at: http://www.ecy.wa.gov/programs/wr/dams/Emergency.html  If you need technical assistance, please contact this office.

State office of WA Dept. of Emergency Management: www.emd.wa.gov/about/contact.shtml

Main Switchboard (800) 562-6108 or (253) 512-7000

Public Information Officers (800) 688-8955

Search and Rescue (888) 849-2727

Emergency Operations Center (Activations Only) (800) 854-5406, or (253) 912-4900

Dam Owner’s Engineer (if available)

- Advises, if time permits, the dam owner as to what the emergency level determination is.

- Advises, if time permits, the dam owner as to what remedial action to take when a Level 2 event has occurred.

Washington Department of Ecology - Dam Safety Office

Dam Safety Office at: (360) 407-6208 		 (360) 971-6347 24 hr. Emergency number

Geotechnical Engineer at: (360) 407-#### (office) or (360) ###-#### (cell).  (Please call the Dam Safety Office at (360) 407-6208 during business hours for current contact information and telephone numbers).

- Provides assistance, if time permits, in determining the emergency level.

- Provides advice, if time permits, of remedial actions to be taken.

- Provides advice on when to terminate the EAP.

Emergency Services & Other Contacts:

| Agency/Organization | Principal Contact & Email Address | Address | Office telephone number | Alternate telephone numbers |
| --- | --- | --- | --- | --- |
| Emergency Responders | 911 |  | 911 |  |
| ____________County Office Of Emergency Management |  |  | ( ) - . | ( ) - . 24 hour |
| State of Washington Department of Ecology |  | PO Box 47600 Olympia, WA 98504 | (360) 407-6208 | (360) 971-6347 24 hr. Emergency number |
| State of Washington Department of Ecology | Geotechnical Engineer | PO Box 47600 Olympia, WA 98504 | (360) 407-#### | (360) ###-#### cell |

(Attach additional sheets as necessary)

Event Detection:

Unusual or emergency events can be detected by:

- Observations made at or near the dam.  Reports can be made by hikers, law enforcement, staff on site, or from a variety of sources.  It is important to evaluate all reports that are received.

- Earthquakes felt or reported at or near the dam.

- Other conditions that can cause an unusual or emergency event at the dam, for example, forecasts of a severe weather event, a flash flood, high fire danger, upstream dam failures, or releases from upstream sources.

Determining the Emergency Level:

After an unusual or emergency event is detected or reported, the dam owner or representative is responsible for classifying the event into one of the following three emergency levels.  Use the Guidance Chart* on the next page and examples of emergency situations in Appendix B-1.

It is important to become familiar with the different emergency levels and situations before an event occurs.

Emergency Level 1 - Unusual Event, Slowly Developing

This event is not normal but has not yet threatened the operation or structural integrity of the dam.  This event could affect the structural integrity of the dam if left unchecked.

Emergency Level 2 - Potential Dam Failure, Rapidly Developing

This event may eventually lead to dam failure and potential flooding downstream, but there is not an immediate threat of dam failure.  This emergency level also applies when uncontrolled flow through the dam’s spillway has or is likely to result in flooding of downstream areas, but is not yet affecting buildings or roads, or posing a significant risk to healthy, safety, or welfare.

Emergency Level 3 – Urgent, Dam Failure Appears Imminent or is in Progress

This is an urgent event, where a dam failure is occurring or is clearly about to occur and cannot be prevented.  Flash flooding will occur downstream of the dam.  The amount of flooding and resulting damage will be dependent upon several factors, such as the water level in the reservoir and the time of year.  If the breach occurs during the dry season when the water level in the reservoir level is low, the escaped water will flood a significantly smaller area than if the breach occurs at the time the dam’s reservoir is full.  If a breach occurs when the dam’s reservoir is full, the entire area shown on the inundation map will be flooded.

This event level is also applicable when flow through the dam’s spillway is flooding buildings or roads.  The dam owner will contact (911) and the responsible Emergency Services to evacuate people at risk and close roads in the flood path if necessary.

Guidance for Determining the Emergency Level*

| Event | Situation | Emergency Level* |
| --- | --- | --- |
| Spillways | Principal spillway severely blocked with debris or structurally damaged | 1 |
|  | Principal spillway leaking with muddy flows | 1 |
|  | Principal spillway blocked with debris and pool is rapidly rising | 2 |
| Flooding | National Weather Service issues a flood warning for the area | 1 |
|  | The reservoir elevation reaches the predetermined notification trigger elevation of ___ inches below dam crest | 2 |
|  | The reservoir elevation reaches the predetermined notification trigger elevation of ___ inches below dam crest | 3 |
|  | Spillway flow is flooding roads and people downstream | 3 |
|  | Flood flows are overtopping the dam | 3 |
| Seepage | New seepage areas in or near the dam | 1 |
|  | Boils observed downstream of dam | 1 |
|  | Boils observed downstream of dam with cloudy discharge | 2 |
|  | New seepage areas with cloudy discharge or increasing flow rate | 2 |
|  | Seepage with discharge greater than a predetermined rate of flow of _______ (gallons per minute) | 3 |
| Sinkholes | Observation of new sinkhole in reservoir area or on embankment | 2 |
|  | Rapidly enlarging sinkhole | 3 |
| Embankment Cracking | New cracks in the embankment greater than 1/2 –inch wide and greater than two feet deep, without seepage | 1 |
|  | Cracks in the embankment with seepage emerging | 2 |
| Embankment Movement | Visual movement/slippage of the embankment slope | 1 |
|  | Sudden or rapidly proceeding slides of the embankment slopes | 2 |
| Instruments | Instrumentation readings beyond predetermined values | 1 |
| Earthquake | Measurable earthquake felt or reported within 50 miles of the dam | 1 |
|  | Earthquake resulting in visible damage to the dam or appurtenances | 2 |
|  | Earthquake resulting in uncontrolled release of water from the dam | 3 |
| Security Threat | Verified bomb threat that, if carried out, could result in damage to the dam | 2 |
|  | Detonated bomb that has resulted in damage to the dam or appurtenances | 3 |
| Sabotage/Vandalism | Damage to the dam or appurtenances with no impacts to the functioning of the dam | 1 |
|  | Modification to the dam or appurtenances that could adversely impact the functioning of the dam | 1 |
|  | Damage to the dam or appurtenances that has resulted in seepage flow | 2 |
|  | Damage to the dam or appurtenances that has resulted in uncontrolled water release | 3 |

Emergency level 1: Non-emergency, unusual event, slowly developing.

Emergency level 2: Potential dam failure situation, rapidly developing.

Emergency level 3: Urgent; dam failure appears to be imminent or is in progress.

*For further examples and guidance in determining emergency levels, see Appendix B-1.

Emergency Level 1: Unusual Event, Slowly Developing

(Place a Green Colored Tab that extends over the edge of the page to aid in locating this section)

STEP 1 - EVENT DETECTION

Unusual or emergency events can be indicated by:

- Observations made at or near the dam.

- Earthquakes felt or reported at or near the dam.

- Other conditions that can cause an unusual or emergency event at the dam.  For example, forecasts of a severe weather event, a flash flood, upstream dam failures or releases, or _______________.

Go to Step 2 – Emergency level Determination.

STEP 2 - EMERGENCY LEVEL DETERMINATION

After an unusual or emergency event is detected or reported, the dam owner is responsible for classifying the event into one of the three emergency levels.  Confirm the emergency level by using the chart below.

Emergency Level 1 Table – further guidance is in Appendix B-1.

| Category | Emergency Level 1 Events |
| --- | --- |
| Spillways | Principal spillway severely blocked with debris or structurally damaged |
|  | Principal spillway leaking with muddy flows |
| Flooding | National Weather Service issues a flood warning for the area |
| Seepage | New seepage areas in or near the dam |
|  | Boils observed downstream of the dam |
| Embankment Cracking | New cracks in the embankment greater than 1/2 inch wide and greater than two feet deep, without seepage |
| Embankment Movement | Visual movement/slippage of the embankment slope |
| Instruments | Instrument readings beyond predetermined “normal” values |
| Earthquake | Measurable earthquake felt or reported within 50 miles of the dam |
| Sabotage/ Vandalism | Damage to the dam or appurtenances with no impacts to dam functions |
|  | Change to the dam or appurtenances that could adversely impact the functioning of the dam |

Each of these situations is not normal but has not threatened the operation or structural integrity of the dam, but could affect the operation or structural integrity of the dam if left unchecked.

Go to Step 3: Notification and Communication

STEP 3 – NOTIFICATION AND COMMUNICATIONS

- Contact the Department of Ecology, Dam Safety Supervisor, and the Dam Owner’s Engineer. Describe the situation and request technical assistance on the next steps you should take.

- Monitor the dam, especially during storm events to detect any further development of a potential or imminent dam failure.

- Contact the ___________ County Emergency Manager if you believe the conditions may worsen and require emergency action.

Emergency Level 1 Notifications

Go to step 4: Expected Actions

Contact Checklist – Emergency Level 1

(Dam owner/operator to complete during event)

Date: ___________________

Dam Name: ____________________________________, Dam ID Number: _______________________

____________________________ County, Washington

Contact Ecology’s Dam Safety Office and your engineering firm immediately after you are alerted to an unusual or emergency situation if you need assistance in determining the emergency level (see Appendix B-1 for additional guidance).

The person making the contacts should initial and record the time of the call and whom they notified for each contact made.

| Person Contacted | Time of Contact (Record and Initial) |
| --- | --- |

(Attach additional sheets as necessary)

STEP 4 - EXPECTED ACTIONS

Once you have determined the emergency level and made the necessary contacts, follow the steps below:

Emergency Level 1:

You must record all information, observations, and actions taken on the Event Log Form on the next page.

Note the times when the conditions change and, if possible, document the situation with photographs and/or video.

- Assess and monitor conditions: Inspect the full length of the upstream slope, crest, downstream slope, and downstream toe of the dam.  Check the reservoir area, abutments, and downstream channel of the dam for signs of changing conditions.

- Contact Ecology’s Dam Safety office and your dam engineer to further investigate conditions and recommend corrective actions.  Call Ecology’s Dam Safety Office immediately if you see increased seepage, erosion, cracking, or settlement.  (Refer to the emergency level table on page __ for guidance in determining the appropriate event level for new conditions.)

- Complete the recommended actions and continue to monitor conditions until risk has ended.

Go to step 5: Termination

STEP 5 – TERMINATION AND FOLLOW UP, Ending Response and Reporting

Whenever you have activated the EAP, you must take actions to conclude the EAP once the event is over and you have followed all the needed procedures (steps 1 through 4).

Termination responsibilities:

- It is the responsibility of the person who made the original calls to inform each person contacted earlier that the event has concluded.  Use the Contact Checklist created during the event to ensure that you have notified everyone.

- The dam owner uses the information gathered during the event (Event Log, Contact Checklist) to complete a Dam Emergency Event Report (Appendix B-4) at the conclusion of an emergency.

- It is the dam owner’s responsibility to distribute copies of the completed report to Ecology’s Dam Safety Office, and to the local Emergency Manager.

Unusual or Emergency Event Log

(Dam owner/operator completes during event)

Date: ___________________

Dam Name: _______________________________________, DAM ID Number: _______________________

___________________________ County, Washington

When and how was the event detected? _______________________________________________________

________________________________________________________________________________________

Weather conditions: _______________________________________________________________________

General description of the event: _____________________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

Emergency level determination: ________________________  Made by: _____________________________

Actions and Event Progression

| Date | Time | Action/event progression | Taken/witnessed by |
| --- | --- | --- | --- |

(Attach additional sheets as necessary)

Report prepared by: ______________________________________________ Date: _____________________

Emergency Level 2: Potential Dam Failure, Rapidly Developing

(Place a Yellow Colored Tab that extends over the edge of the page to aid in locating this section)

STEP 1 - EVENT DETECTION

Unusual or emergency events may be indicated by:

- Observations at or near the dam by the public, landowner, or employee of the company.

- Strong earthquakes felt or reported at or near the dam.

- Forewarning of conditions that may cause an unusual event or emergency event at the dam.  For 
example, a forecast of a severe weather event, flash flood, or __________________.

Go to Step 2:  Emergency level Determination

STEP 2 - EMERGENCY LEVEL DETERMINATION

After an unusual or emergency event is detected or reported, the dam owner is responsible for classifying the event into one of the three emergency levels.  Confirm the emergency level by using the chart below.

Emergency Level 2 Table – further guidance is in Appendix B-1.

| Event | Emergency Level 2 Events |
| --- | --- |
| Flooding | The reservoir elevation reaches the predetermined notification trigger elevation of ___ inches below dam crest |
| Seepage | Boils observed downstream of dam with cloudy discharge |
| Sinkholes | New seepage areas with cloudy discharge or increasing flow rate |
|  | Observation of new sinkhole in reservoir area or on embankment |
| Embankment Cracking | Cracks in the embankment with seepage emerging |
| Embankment Movement | Sudden or rapidly proceeding slides of the embankment slopes |
| Earthquake | Earthquake resulting in visible damage to the dam or appurtenances |
| Security Threat | Verified bomb threat that, if carried out, could result in damage to the dam |
| Sabotage/Vandalism | Damage to the dam or appurtenances that has resulted in seepage flow |

These situations may eventually lead to dam failure and flash flooding downstream, but there is not an immediate threat of dam failure.  This emergency level also applies when flow through the spillway may result in flooding of downstream areas where people near the channel could be endangered.

Go to Step 3:  Notification and Communication

STEP 3 – NOTIFICATION AND COMMUNICATIONS

Notification:

- Contact the 911 dispatcher and inform him/her that the EAP has been activated.

- Contact the Local Emergency Manager or ____________________ to inform him/her that the EAP has been activated and, if current conditions get worse, the emergency level may increase and evacuation may be necessary.

- Contact the Department of Ecology, Dam Safety Supervisor and the Dam Owner’s Engineer (if applicable).  Describe the situation, and request technical assistance on the next steps to take.

Go to Step 3:  Communication

Communication:

Emergency Level 2

- Report any changes in the condition of the dam to the Local Emergency Manager.  If the dam condition worsens and failure becomes imminent, your Local Emergency Manager must be notified immediately of the change in the emergency level to evacuate the people at risk downstream.

- Monitor the dam to detect any further development of a potential or imminent dam failure.

- The local Emergency Manager prepares to contact people and facilities at risk.  Evacuation list (page___).

- Be aware of roads and highways in the path of floodwaters.  See Inundation map Appendix A-2 and Roadways at risk - page___, for locations and approximate time that floodwaters will reach the roadways.

Emergency Level 2: Notifications - Level 2 Contact List

Potential Dam Failure - Rapidly Developing

Contact Checklist – Emergency Level 2

(Dam owner/operator to complete during event)

Date: ___________________

Dam Name: ____________________________________, Dam ID Number: _______________________

_____________________________ County, Washington

Contact Ecology’s Dam Safety Office and your engineering firm immediately after you are alerted to an unusual or emergency situation if you need assistance in determining the emergency level (see Appendix B-1 for additional guidance).

The person making the contacts should initial and record the time of the call and whom they notified for each contact made.

| Person Contacted | Time of Contact (Record and Initial) |
| --- | --- |

(Attach additional sheets as necessary)

Summary of People and Structures at Greatest Risk (list in order of proximity to the dam)

| Residence/Business/ Structure | Address | Phone Number | Approximate depth & time flood may arrive |
| --- | --- | --- | --- |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |

Summary of Roads at Risk (list in order of proximity to the dam)

| Roads or Highways at risk | Location, intersections etc. (directions) | Approximate depth & time flood may arrive |
| --- | --- | --- |
|  |  | Depth: __________ Time: ___________ |
|  |  | Depth: __________ Time: ___________ |
|  |  | Depth: __________ Time: ___________ |

(Attach additional sheets as necessary; also see Appendix A-4 & A-5 for extra contact lists)

Go to Step 4: Expected Actions

STEP 4 - EXPECTED ACTIONS

Once you have determined the emergency level and made needed contacts, follow the steps below:

Emergency Level 2 - (Potential dam failure, rapidly developing)

Record all information, observations, and actions taken on the Event Log Form (after this section or in Appendix B-3) as it happens or at a minimum daily.  Note the time of changing conditions.  Document the situation with photographs and video, if possible.

Stay safe!  Until conditions at the dam have been evaluated, take precautions for your safety!

- If time permits, the dam owner or a representative will inspect the dam.  If you observe piping, increased seepage, erosion, cracking, or settlement, immediately report this to the Local Emergency Manager and State Dam Safety Engineer.  Refer to the emergency level table for guidance in determining the appropriate event level for the new condition and recommended actions.

- Inspect the full length of the upstream slope, crest, downstream toe, and downstream slope of the dam.

- Check the reservoir area, abutments, and downstream channel for signs of changing conditions.

- The dam owner will contact the State Dam Safety Engineer and Dam Owner’s Engineer and request technical staff to investigate the situation and recommend corrective actions.

- Take emergency remedial actions, if appropriate.

Immediate implementation of these remedial actions may delay, moderate, or prevent the failure of the dam.

Several of the listed adverse or unusual conditions may be apparent at the dam at the same time, requiring implementation of several modes of remedial actions.

- Close monitoring of the dam must be maintained to confirm the success of any remedial action taken at the dam.

- If possible, remedial action should be developed through consultation with the Department of Ecology, Dam Safety Supervisor.

- Refer to the Resources Available list (Appendix A-3) for sources of equipment and materials

Embankment overtopping:

- Place sandbags along the low areas of the top of the dam to reduce the likelihood of overtopping and safely direct more water through the spillway.

- Cover the weak areas of the top of the dam and downstream slope with riprap, sandbags, plastic sheets, or other materials to provide erosion-resistant protection.

Seepage and sinkholes:

- Open outlet(s) to lower the reservoir level as rapidly as possible to a level that stops or decreases the seepage to a non-erosive velocity. If the outlet is damaged, blocked, or of limited capacity, pumping or siphoning may be required. Continue lowering the water level until the seepage stops.

- If the entrance to the seepage origin point is visible in the reservoir (possible whirlpool) and accessible, attempt to reduce the flow by plugging the entrance with readily available materials, such as hay bales, bentonite, soil, rock, or plastic sheeting.

- Cover the seepage exit area(s) with several feet of sand/gravel to hold fine-grained embankment or foundation materials in place. Alternatively, construct sandbag or other types of ring dikes around seepage exit areas to retain a pool of water, providing backpressure and reducing the erosive nature of the seepage.

- Prevent vehicles and equipment from driving between the seepage exit points and the embankment to avoid potential loss from the collapse of an underground void.

Embankment movement:

- Open outlet(s) and lower the reservoir to a safe level at a rate commensurate with the urgency and severity of the condition of the slide or slump.  If the outlet is damaged, blocked or of limited capacity, pumping or siphoning may be required.

- Repair settlement of the crest by placing sandbags or fill materials in the damaged area to restore freeboard.

- Stabilize slides on the downstream slope by creating a soil or rock buttress against the toe area of the slide.

Earthquake:

- Immediately conduct a general overall visual inspection of the dam.

- Perform field survey to determine if there has been any settlement and movement of the dam embankment, spillway, and low-level outlet works.

- Drain reservoir if required.  If the low-level outlet is damaged, consider pumping or siphoning.

Go to Step 5: Termination

Unusual or Emergency Event Log

(Dam owner/operator completes during event)

Date: ___________________

Dam Name: _______________________________________, DAM ID Number: _______________________

_________________________________________ County, Washington

When and how was the event detected? _______________________________________________________

________________________________________________________________________________________

Weather Conditions: _______________________________________________________________________

General description of the event: _____________________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

Emergency level determination: ________________________  Made by: _____________________________

Actions and Event Progression

| Date | Time | Action/event progression | Taken/witnessed by |
| --- | --- | --- | --- |

(Attach additional sheets as necessary)

Report prepared by: _____________________________________________ Date: _____________________

STEP 5 – TERMINATION AND FOLLOW UP, Ending Response and Reporting

Whenever the EAP has been activated and an emergency declared, the Local Emergency Manager and the dam owner must take actions to conclude the EAP once the event is over and all necessary procedures (steps 1 through 4) have been followed.

Termination responsibilities:

Your Local Emergency Manager is responsible for terminating the EAP operations for a Level-2 emergency, and relaying this decision to the dam owner.

- Prior to termination of an Emergency Level 2 or 3 events, the Washington State Dam Safety Engineer must assure the dam is inspected to determine if any hazardous conditions exist.

- If it is determined that hazardous conditions no longer exist, the Washington State Dam Safety Supervisor will advise the Local Emergency Manager to terminate EAP operations.

- The person who made the original calls must inform each person contacted that the emergency is now concluded.  Use the Contact Checklist (Appendix B-2) created during the event to verify everyone has been contacted.

- The dam owner will use the information that was gathered during the event (Event Log and Contact Checklist) to complete a Dam Emergency Event Report (Appendix B-4) at the conclusion of an emergency.

- The dam owner must distribute copies of the completed report to Ecology’s Dam Safety Office and to the local Emergency Manager.

Emergency Level 3: Urgent, Dam Failure Appears Imminent or is in Progress

(Place a Red Colored Tab that extends over the edge of the page to aid in locating this section)

STEP 1 - EVENT DETECTION

Unusual or emergency events may be indicated by:

- Observations at or near the dam by the public, landowner, or employee of the company.

- Severe earthquakes felt or reported in the vicinity of the dam.

- Forewarning of conditions that may cause an unusual event or emergency event at the dam. For 
example, a severe weather event, flash flood forecast, or __________________.

Go to Step 2: Emergency level Determination

STEP 2 - EMERGENCY LEVEL DETERMINATION

Once detected or reported, the dam owner is responsible for classifying the event into one of the three emergency levels.  Confirm the emergency level 3 with the table below.

Emergency Level 3 – Urgent – further guidance is in Appendix B-1.

| Event | Situation | Emergency Level* |
| --- | --- | --- |
| Flooding | The reservoir elevation reaches the predetermined notification trigger elevation of ___ inches below the dam crest | 3 |
|  | Spillway flow is flooding roads and buildings downstream | 3 |
|  | Flood flows are overtopping the dam | 3 |
| Seepage | Seepage with discharge greater than a predetermined rate of flow of _____ (gallons per minute) | 3 |
| Sinkholes | Rapidly enlarging sinkhole in reservoir area or embankment | 3 |
| Earthquake | Earthquake resulting in uncontrolled release of water from the dam | 3 |
| Security Threat | Detonated bomb that has resulted in damage to the dam or appurtenances | 3 |
| Sabotage/Vandalism | Damage to the dam or appurtenances that has resulted in uncontrolled water release | 3 |

These situations are typical examples of emergency dam conditions.

- Extreme weather events that exceed dam design can cause significant flow through the emergency spillway or overtopping of the embankment.

- Not all emergency conditions are listed above and the dam owner is urged to use safety as a priority in determining whether a specific condition should be defined as an emergency.  See the “Examples of Emergency Situations” section in Appendix B-1 for a more complete discussion of potential emergency conditions.

Go to Step 3: Notification and Communications

STEP 3 – NOTIFICATION AND COMMUNICATIONS

Providing Notice: (Urgent; dam failure appears imminent or is in progress)

- Utilize the Level 3 Contact list – page __ to record contacts made and time of contact.

- Contact the 911 dispatcher inform him/her that the EAP has been activated (*911 script below).

- Notify the Local Emergency Manager or ________________to inform him/her that the EAP has been activated and the potentially flooded area must be evacuated and potential inundated roads closed.

- Inundation map (Appendix A-2 and Roadways at risk - page__), for locations and approximate times floodwaters will reach the roadways.

- Local Emergency Manager or___________________ begins contacting people and facilities at risk.  Evacuation list (page __)    Emergency personal may use the following scripted message to communicate the emergency status to the public:

- Contact Ecology’s Dam Safety Supervisor and the Dam Owner’s Engineer (if applicable).  Describe the situation, and request technical assistance on the next steps to take.

Emergency Level 3 Notifications

Urgent Event --- Dam failure is imminent or in progress!

1

2

Contact Checklist – Emergency Level 3

Dam owner/operator to complete during event)

Date: ___________________

Dam Name: ____________________________________, Dam ID Number: _______________________

______________________________________ County, Washington

Contact Ecology’s Dam Safety Office and your engineering firm immediately after you are alerted to an unusual or emergency situation if you need assistance in determining the emergency level (see Appendix B-1 for additional guidance).

The person making the contacts should initial and record the time of the call and whom they notified for each contact made.

| Person Contacted | Time of Contact (Record and Initial) |
| --- | --- |

(Attach additional sheets as necessary)

Summary of People and Structures at Greatest Risk (list in order of proximity to the dam)

| Residence/Business/ Structure | Address | Phone Number | Approximate Depth & time flood may arrive |
| --- | --- | --- | --- |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |

Summary of Roads at Risk (list in order of proximity to the dam)

| Roads or Highways at risk | Location, intersections etc. (directions) | Approximate Depth & time flood may arrive |
| --- | --- | --- |
|  |  | Depth: __________ Time: ___________ |
|  |  | Depth: __________ Time: ___________ |
|  |  | Depth: __________ Time: ___________ |

(Attach additional sheets as necessary.  Also see Appendix A-4 & A-5 for extra contact lists)

Go to Step 4: Expected Actions

STEP 4- EXPECTED ACTIONS

Once the emergency level has been established and contacts have been made, follow the steps below:

Emergency Level 3 – Urgent: dam failure is imminent or in progress:

The Local Emergency Manager, 911 dispatcher, or other emergency personal is responsible for following their own emergency procedures.  Completion of the Section 3, Roles and Responsibilities contact list will outline who is responsible for notification, evacuations and road closures.

The Dam Owner/Operator will:

- Stay safe!  Until conditions at the dam have been evaluated, take precautions for your safety!

- Continue to use the Contact Checklist (Appendix B-2) to record each person contacted and when.

- Record all information, observations, and each step taken on the Event Log Form (after this section or in Appendix B-3) as they happen or at least daily.  Document the situation with photographs and video if possible.

- Keep in frequent contact with the Local Emergency Manager, providing with updates of the situation to assist in timely decisions concerning warnings and evacuations.  If all means of communication are lost:

(a) Try to find out why.

(b) Try to get to another radio or telephone that works.

(c) Get someone else to try to reestablish communications.

(d) If these means fail, handle the immediate problems as well as you can, and periodically try to reestablish contact with the Local Emergency Manager and emergency services.

- Do whatever is necessary to bring people in immediate danger to safety if directed by the Local Emergency Manager (anyone on the dam, downstream from the dam, boating on the reservoir, or evacuees).

- Advise people monitoring the dam to follow safe procedures.  Everyone should stay away from any of the failing structures or slopes and out of the potential breach inundation areas.

- Contact the Washington State Dam Safety Engineer and Dam Owner’s Engineer and request technical staff to investigate the situation and recommend corrective actions.

- Initiate emergency remedial actions, if appropriate.  Refer to the Resources Available list 
(Appendix A-3) for sources of equipment and materials.

- Continue to inspect the full length of the upstream slope, crest, downstream toe, and downstream slope, to the extent it can be done safely.  Check the reservoir area, abutments, and downstream channel for signs of changing conditions.  If you observe piping, increased seepage, erosion, cracking, or settlement, immediately report changing conditions to the Local Emergency Manager and State Dam Safety Engineer.

Go to Step 5: Termination

Unusual or Emergency Event Log:

(Dam owner/operator completes during event)

Date: ___________________

Dam Name: _______________________________________, DAM ID Number: _______________________

_________________________________________________ County, Washington

When and how was the event detected? _______________________________________________________

________________________________________________________________________________________

Weather Conditions: _______________________________________________________________________

General description of the event: __________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

Emergency level determination: ________________________  Made by: _____________________________

Actions and Event Progression

| Date | Time | Action/event progression | Taken/witnessed by |
| --- | --- | --- | --- |

(Attach additional sheets as necessary)

Report prepared by: _____________________________________________ Date: _____________________

STEP 5 – TERMINATION AND FOLLOW UP, Ending Response and Reporting

Whenever the EAP has been activated and an emergency declared, the EAP will need to be concluded once the event is over.

Termination responsibilities:

Your Local Emergency Manager is responsible for terminating an emergency Level 3 Response and relaying this decision to the dam owner.

- Prior to termination of an Emergency Level 3 event, the Washington State Dam Safety Engineer will assure the dam is inspected to determine if any hazardous conditions remain.

- If it is determined that there are no remaining hazardous conditions, the Washington State Dam Safety Supervisor will advise the Local Emergency Manager to terminate EAP operations.

- It is then the responsibility of the individual who made the original calls to inform each person contacted during the emergency that the event is now concluded.  Use the Contact Checklist (Appendix B-2) created during the event to verify that everyone receives notice.

- The dam owner will use the information gathered during the event (Event Log and Contact Checklist) to complete a Dam Emergency Event Report (Appendix B-4) at the conclusion of an emergency.

- The dam owner will distribute copies of the completed report to Ecology’s Dam Safety Office and the local Emergency Manager.

MAINTENANCE (Training, Reviewing, and Updating the EAP)

Introduction:

Emergency Action Plans should be considered “Living Documents.” This means that:

- They will never be complete.

- They should be reviewed and updated at least once a year.

- The local emergency manager should take part in the annual review.

- All updates should be promptly distributed to all plan holders, (owners keep the “master” Emergency Action Plan, and record where copies of the EAP’s are located).

Dam emergency events and failures are not common events.  Therefore, training and exercises are necessary to maintain emergency response readiness, timeliness, and effectiveness.  The EAP therefore requires periodic maintenance to remain current and as useful and effective as possible.

Review the information in the “Emergency Action Plan Guidelines” for additional information on how to develop exercise and review procedures.

EAP Training:

Periodic training and exercises are necessary to ensure that people involved are thoroughly familiar with all elements of the plan, as well as their related duties and responsibilities.  An appropriate number of people should receive training to ensure adequate coverage at all times.

EAP exercises can include:

- Orientations

- Phone drills

- Table top exercises

- Functional exercises

The level of detail associated with testing and how often plans are tested depends on the size of the facility, the population at risk, and what is located in the floodplain.  For low risk dams, testing could consist of reviewing the EAP and verifying that the telephone numbers on the notification chart and the resource list is current.

At a minimum, owners of high and significant hazard dams should conduct an annual orientation and phone drill.  The orientation can be a simple meeting where those individuals and entities with a stake in the EAP come together to review the roles and responsibilities described in the EAP.  Orientations are especially useful for bringing new staff and leadership within any of the various organizations up to speed with regard to the components of the EAP.

Owners of high hazard dams should maintain a comprehensive exercise program that includes all the components listed above.  Tabletop and Functional exercises are typically complex, but should be conducted about every five years.

Key personnel from the Dam Safety Office and local emergency management agencies should be invited to participate in orientation and exercises provided by the dam owner.

Reviewing and Updating the EAP:

The EAP should be reviewed and updated annually, including:

- Calling all contacts on the notification charts in the EAP to verify that names and phone numbers are current.

- Contacting the Local Emergency Management Agency to verify where the EAP is kept and if responsibilities as described in the EAP are understood.

- Calling the locally available resources to verify that the phone numbers, addresses, and services are current.

- Review information on the people and structures at risk and incorporate changes in development within the flood inundation area.

- Any deficiencies found during training and exercises should be noted and the plan revised.

The dam owner is responsible for updating the EAP documents to revise any changes of contact information, services, service providers, or people, structures, or roads at risk.  When revisions occur, the dam owner should provide the revised pages and a revised Revision Summary Page to all the EAP document holders.  Record where copies of the EAP are maintained in the NAME form on the next page.

The plan holders are responsible for updating their copies of the EAP whenever they receive revisions.  Discard out of date pages to avoid confusion with the revisions.

Emergency Action Plan Locations:

| Copy Number | Organization Name and Address | Person(s) receiving copy |
| --- | --- | --- |
| I | Owner or Representative _______________________ Phone: (____)_____-______________ Address_____________________________________ ____________________________________________ e-mail _______________________________________ |  |
| 2 | _______________ Local/County Emergency Manager Phone: (____)_____-______________ Address_____________________________________ ____________________________________________ e-mail _______________________________________ |  |
| 3 | Dept of Ecology - Dam Safety Office Office: (360) 407-#### PO Box 47600 Olympia, WA 98504-7600 #### #### @ecy.wa.gov |  | Dam Safety Office Name of lead engineer |
| 4 | ____________________________________________ Phone: (____)_____-______________ Address_____________________________________ ____________________________________________ e-mail_______________________________________ |  |  |

(Attach additional sheets as necessary)

Record of Revisions and Updates Made to this Emergency Action Plan

| Revision Date | Revisions made | By whom and Phone number |
| --- | --- | --- |
| 1 ----------- |  |  |
| 2 ----------- |  |  |
| 3 ----------- |  |  |
| 4 ----------- |  |  |
| 5 ----------- |  |  |
| 6 ----------- |  |  |
| 7 ----------- |  |  |
| 8 ----------- |  |  |
| 9 ----------- |  |  |
| 10 ----------- |  |  |

(Attach additional sheets as necessary)

APPENDIXES: MAPS, SUPPORTING DATA, FORMS & GLOSSARY

Appendix A

Page ____

Appendix A-1 Location and Vicinity Maps	____

Appendix A-2 Inundation Map	____

Appendix A-3 Resources Available	____

Appendix A-4 Summary of People/Structures at Greatest Risk	____

Appendix A-5 Roadways at Risk	____

Appendix A-5 Plan and Profile View of Dam	____

Appendix A-6 Reservoir Elevation Area-Capacity Data	____

Appendix A-1	Location and Vicinity Maps

Location and Vicinity Maps

(Attach additional sheets as necessary)

Appendix A-2 	Inundation Maps

Inundation Map

(Attach additional sheets as necessary)

Appendix A-3	Resources Available

Locally available equipment, labor, and materials:

(Revised: ____________)

| Heavy equipment service and rental | Sand and gravel supply | Ready-mix concrete supply |
| --- | --- | --- |
| Name: Address: Phone: (____)_____-________ | Name: Address: Phone: (____)_____-_______ | Name: Address: Phone: (____)_____-_______ |
| Sand Bags | Diving Contractor | Pumps |
| Name: Address: Phone: (____)_____-________ | Name: Address: Phone: (____)_____-________ | Name: Address: Phone: (____)_____-________ |
| Other | Other | Other |
| Name: Address: Phone: (____)_____-________ | Name: Address: Phone: (____)_____-________ | Name: Address: Phone: (____)_____-_______ |

Notes: ________________________________________________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

Appendix A-4

Summary of People and Structures at Greatest Risk (list in order of proximity to the dam)

| Residence/Business/ Structure | Address | Phone Number | Approximate depth & time flood may arrive |
| --- | --- | --- | --- |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |
|  |  | (___)____-________ (___)____-________ | Depth: __________ Time: ___________ |

Appendix A-5

Summary of Roads at Risk (list in order of proximity to the dam)

| Roads or Highways at risk | Location, intersections etc. (directions) | Approximate depth & time flood may arrive |
| --- | --- | --- |
|  |  | Depth: __________ Time: _____________ |
|  |  | Depth: __________ Time: _____________ |
|  |  | Depth: __________ Time: _____________ |
|  |  | Depth: __________ Time: _____________ |
|  |  | Depth: __________ Time: _____________ |
|  |  | Depth: __________ Time: _____________ |
|  |  | Depth: __________ Time: _____________ |

Appendix A-6	Plan and Profile Views of the Dam

Plan and Profile Views of the Dam

(Attach additional sheets as necessary)

Appendix A-7	Reservoir Elevation, with Area and Capacity Data

Reservoir Elevation, with Area and Capacity Data

(Attach additional sheets as necessary)

Appendix B

Page No.____

Appendix B-1 Emergency Level Examples	____

Appendix B-2 Contact Checklist	____

Appendix B-3 Unusual or Emergency Event Log	____

Appendix B-4 Dam Emergency Event Report	____

Appendix B-5 Dam Hazard Classification Chart	____

Appendix B-6 Glossary of Terms w/ water equivalents table	____

Appendix B-7 Signature Page	____

Appendix B-1

Examples of Emergency Situations:

The following are examples of conditions that may occur at a dam that usually constitute an emergency.  Adverse or unusual conditions that can cause the failure of a dam are typically related to aging, or design and construction oversights.  Extreme weather events that may exceed design conditions can cause significant flow through the emergency spillway or can overtop the embankment.  Accidental or intentional damage to the dam may also result in an emergency situation.  We have grouped the examples below to identify the more likely emergency level conditions.  They are provided as guidance only.  Not all emergency conditions are listed and the dam owner is urged to use conservative judgment in determining whether a condition at the dam constitutes an emergency.

Emergency Spillway Flows:

Emergency Level 2 - Potential dam failure; rapidly developing:

- Significant erosion or head cutting of the spillway is occurring, but a breach of the spillway crest that would result in an uncontrolled release from the reservoir does not seem imminent.

- Flow through the emergency spillway is likely to cause flooding that threatens harm to any person, home, or road downstream from the dam.

Emergency Level 3 - Urgent; dam failure is imminent or in progress:

- Significant erosion or head cutting of the spillway is occurring at a rapid rate and a breach of the control section appears imminent.

- Flow through the emergency spillway is causing flooding that threatens harm to any person, home, or road downstream from the dam.

Embankment Overtopping:

Emergency Level 2 - Potential dam failure; rapidly developing:

- The reservoir level has reached the top of the dam and is projected to continue to rise.

- Flow is occurring over the embankment, but it is not eroding the embankment slope, and the reservoir is expected to continue to recede.

Emergency Level 3 - Urgent; dam failure is imminent or in progress:

- Flow is occurring over the embankment and is causing erosion damage to the embankment slope.

- The reservoir level has exceeded the top of the dam and is expected to continue to rise.

Seepage and Sinkholes:

Emergency Level 2 - Potential dam failure; rapidly developing:

- Cloudy seepage or soil deposits are observed at seepage exit points or from internal drain outlet pipes.

- New or increased areas of wet or muddy soils are present on the downstream slope, abutment, and/or foundation of the dam, and there is an easily detectable and unusual increase in volume of downstream seepage.

- Significant new or enlarging sinkhole(s) on or near the dam.

- Reservoir level is falling without apparent cause.

- The following known dam defects are or soon will be inundated by a rise in the reservoir: 
     a. Sinkhole(s) located on the upstream slope, crest, abutment, and/or foundation of the dam; or 
     b. Transverse cracks extending through the dam, abutments, or foundation.

Emergency Level 3 - Urgent; dam failure is imminent or in progress:

- Rapid increase in cloudy seepage or soil deposits at seepage exit points, to the extent that failure appears imminent or is in progress.

- Rapid increase in volume of downstream seepage, to the extent that failure appears imminent or is in progress.

- Water flowing out of holes in the downstream slope, abutment, and/or foundation of the dam, to the extent that failure appears imminent or is in progress.

- Whirlpools or other evidence exists indicating that the reservoir is draining rapidly through the dam or foundation.

- Rapid enlargement of sinkhole(s) is forming on the dam or abutments, to the extent that failure appears imminent or is in progress.

- Rapid increase in flow through crack(s) which is eroding materials, to the extent that failure appears imminent or is in progress.

Embankment Movement and Cracking

Emergency Level 2 - Potential dam failure; rapidly developing:

- Settlement of the crest, slopes, abutments and/or foundation of the dam that may eventually result in breaching of the dam.

- Significant increase in length, width, or offset of cracks in the crest, slopes, abutments, and/or foundation of the dam, which may eventually result in breaching of the dam.

Emergency Level 3 - Urgent; dam failure is imminent or in progress:

- Sudden or rapid progression of slides, settlement, or cracking of the embankment crests, slopes, abutments, and/or foundation, where breaching of the dam appears imminent or is in progress.

Appendix B-2

Contact Checklist – Emergency Level ____

(Dam owner/operator to complete during event)

Date___________________

Dam Name:____________________________________, Dam ID Number: _______________________

_________________ County, Washington

Contact Ecology’s Dam Safety Office and your engineering firm immediately after you are alerted to an unusual or emergency situation if you need assistance in determining the emergency level (see Appendix B-1 for additional guidance).

The person making the contacts should initial and record the time of the call and whom they notified for each contact made.

| Person Contacted | Time of Contact (Record and Initial) |
| --- | --- |

Continue on back, as necessary

| Person Contacted | Time of Contact (Record and Initial) |
| --- | --- |

Notes: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Appendix B-3

Unusual or Emergency Event Log, (to be completed during an emergency)

Date:_________________

Dam Name: ____________________________________, DAM ID Number: _______________________

_________________ County, Washington

When and how was the event detected? _______________________________________________________

________________________________________________________________________________________

Weather conditions: _______________________________________________________________________

General description of the emergency event: ____________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

Emergency level determination: ________________________  Made by: _____________________________

Actions and Event Progression

| Date: | Time: | Action/event progression | Taken by: |
| --- | --- | --- | --- |

Continue on back, as necessary

Report prepared by: ___________________ Date: _____________________

| Date: | Time: | Action/event progression | Taken by: |
| --- | --- | --- | --- |

Appendix B-4

Dam Emergency Event Report, (Dam owner must complete and submit to Ecology once emergency has concluded)

Dam name: _______________________________                State DAM ID: ___________________________

Dam location: ________________________ County _____________________ ________________________ 
	 		(City)					 (County) 			(Stream/River)

Date of event: ___________________			  			Time:_________________

Weather conditions: _______________________________________________________________________

General description of event: ________________________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

Area(s) of dam affected: ____________________________________________________________________

Extent of dam damage: _____________________________________________________________________

Possible cause(s): _________________________________________________________________________

Effect on dam’s operation: __________________________________________________________________

Initial reservoir elevation: _________________________________ Time: ____________________________

Maximum reservoir elevation: _____________________________ Time: ____________________________

Final reservoir elevation: _________________________________ Time: _____________________________

Description of area flooded downstream/damages/injuries/loss of life:  _______________________________

________________________________________________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

Other data and comments: __________________________________________________________________

________________________________________________________________________________________

Observer’s name and telephone number:_______________________________________________________

Report prepared by: _____________________________________ Date: _____________________________

Appendix B-5

Dam Hazard Classification Table

The downstream hazard classification for your dam will be determined by the Dam Safety Office and is provided to the dam owner.  The table below is one of the tools that are used to assess the risk of a dam failure on downstream areas.  Each hazard classification level is an estimation of the damage that would occur from a hypothetical dam failure occurring with the reservoir at normal storage elevation and maximum storage elevation.

| Downstream Hazard Potential | Downstream Hazard Classification | Population at Risk | Economic Loss Generic Descriptions | Environmental Damages |
| --- | --- | --- | --- | --- |
| Low | 3 | 0 | Minimal No inhabited structures. Limited agriculture development. | No deleterious materials in water |
| Significant | 2 | 1 to 6 | Appreciable 1 or 2 inhabited structures. Notable agriculture or work sites. Secondary highway and/or rail lines. | Limited water quality degradation from reservoir contents and only short-term consequences. |
| High | 1C | 7 to 30 | Major 3 to 10 inhabited structures. Low density suburban area with some industry and work sites. Primary highways and rail lines. | Severe water quality degradation potential from reservoir contents and long-term effects on aquatic and human life. |
| High | 1B | 31-300 | Extreme 11 to 100 inhabited structures. Medium density suburban or urban area with associated industry, property and transportation features. | Severe water quality degradation potential from reservoir contents and long-term effects on aquatic and human life. |
| High | 1A | More than 300 | Extreme More than 100 inhabited structures. Highly developed, densely populated suburban or urban area with associated industry, property, transportation and community lifeline features. | Severe water quality degradation potential from reservoir contents and long-term effects on aquatic and human life. |

Appendix B-6

Glossary of Terms

Abutment	That part of the valley side against which the dam is constructed. The left and right abutments of dams are defined with the observer looking in the downstream direction from the dam.

Acre-foot	A unit of (volumetric) measure that would cover one acre with water (or other fluid) to a depth of one foot.  One acre-foot is equal to 43,560 cubic feet or 325,850 gallons.

Appurtenant structures	Ancillary features of a dam such as outlets, spillways, power plants, tunnels, etc.

Boil 	A disruption of the soil surface due to water discharging from below the surface.  Eroded soil may be deposited in the form of a ring (miniature volcano) around the disruption.

Breach 	An opening through a dam that allows the uncontrolled draining of a reservoir. A controlled breach is a constructed opening.  An uncontrolled breach is an unintentional opening caused by discharge from the reservoir. A breach is generally associated with the partial or total failure of the dam.

Conduit	A closed channel (round pipe or rectangular box) that conveys water through, around, or under the dam.

Control section	A usually level segment in the profile of an open channel spillway above which water in the reservoir discharges through the spillway.

Dam 	A man-made barrier, together with appurtenant structures, constructed above the natural surface of the ground for the purpose of impounding water.

Dam failure			The uncontrolled release of a dam’s impounded water.

Dam Owner	Any person, private or non-profit company, special district, federal, state, or local government agency, or any other entity in direct routine control of a dam and reservoir, and/or directly involved in the physical operation and maintenance of a dam.

Drain, blanket	A layer of pervious material placed to facilitate drainage of the foundation and/or embankment.

Drain, chimney 	A vertical or inclined layer of pervious material in an embankment to facilitate and control drainage of the embankment fills.

Drain, toe 	A system of pipe and/or pervious material along the downstream toe of a dam used to collect seepage from the foundation and embankment and convey it to a free outlet.

Drainage area		The area that drains to a particular point on a river or stream.

(Watershed)

Drawdown 	The difference between a water level and a lower water level in a reservoir within a particular time.

Emergency 	A condition that develops unexpectedly, endangers the structural integrity of the dam and/or downstream human life and property, and requires immediate action.

Emergency Action Plan 	A written document prepared by the dam owner, describing a detailed plan of actions for response to emergency or unusual events, including alerting and warning emergency officials in the event of a potential or imminent dam failure or other emergency related to the safety of the dam and public.

Engineer 	A Professional Engineer registered and licensed in the State of Washington.  The engineer must be sufficiently qualified and experienced in the design, construction, and safety evaluation of the type of dam under consideration.

Filter 	One or more layers of granular material graded (either naturally or by selection) so as to allow seepage through or within the layers while preventing the migration of material from adjacent zones.

Freeboard 	The vertical dimension between the crest (or invert) of the emergency spillway and the crest of the dam.

Groin 				That area along the intersection of the face of a dam and the abutment.

Hazard Classification 	The placement of a dam into one of three categories (High, Significant & Low) based on the hazard potential derived from an evaluation of the probable adverse consequences due to failure or improper operation of the dam.

Height, Jurisdictional 	The vertical dimension measured from the elevation of the lowest point of the natural surface of the ground, or from the invert of the outlet pipe if excavated below the natural surface of the ground, whichever is lower, where the low point occurs along the longitudinal centerline of the dam, up to the spillway crest of the emergency spillway.

Instrumentation 	An arrangement of devices installed into or near dams that provide measurements to evaluate the structural behavior and other performance parameters of the dam and appurtenant structures.

Inundation Map 	A map depicting the area downstream from a dam that would reasonably be expected to be flooded in the event of a failure of the dam.

Local Emergency Manager	Person(s) responsible for developing, organizing, and exercising a community’s emergency operations plan.  Typically, City Police or Fire Department, or County Sheriff’s Department personnel act as the Local Emergency Manager.

Notification 	Immediately inform appropriate individuals, organizations, or agencies about a potential emergency event so they can initiate appropriate actions.

Outlet 	A conduit (usually regulated by gates or valves) used for controlled or regulated releases of impounded water from the reservoir.

Piping 	The progressive destruction of an embankment or embankment foundation by internal erosion of the soil by seepage flows.

Reservoir 			A body of water impounded by a dam.

Seepage 	The natural movement of water through the embankment, foundation, or abutments of the dam.

Slide 	The movement of a mass of earth down a slope on the embankment or abutment of the dam.

Spillway 			An appurtenant structure that conducts overflows from a reservoir.

Spillway (principal)	The overflow structure designed to limit or control the operating level of a reservoir, and first to be activated in runoff conditions.

Spillway (emergency) 	The appurtenant structure designed to pass the Inflow Design Flood in conjunction with the routing capacity of the reservoir and any principal or service spillway(s).

Spillway crest 	The elevation of the floor of a spillway, grade control structure, or ogee crest above which spillway flow begins.

State Dam Safety Engineer 	For purposes of this EAP, the Washington State, Department of Ecology, Dam Safety Office engineer(s) responsible for safety inspections, plan review and determining the safe reservoir storage level of assigned dams.

Toe of dam 	The junction of the upstream or downstream face of an embankment with the ground surface.

Top of dam (dam crest) 	The elevation of the uppermost surface of an embankment which can safely impound water behind the dam.

Water Equivalents Table

An acre-foot covers one acre of land one foot in depth.

1 cubic foot……….7.48 gallons……….6.25 lbs of water

1 acre foot………...43,560 cubic feet……….325,851 gallons

1 cubic foot per second (CFS)……..7.48 gallons per second

1 CFS…..448.8 GPM…..646,272 GPD…..1.98 acre-ft./day

1,000 GPM……….2.23 CFS……….4.42 acre-ft./day

1 million gallons per day……..694 GPM……..1.55 CFS

Appendix B-7

Signature Page, Concurrences

By my signature, I acknowledge that I, or my representative, have reviewed this plan and concur with the tasks and responsibilities assigned herein for my organization and myself.

1. ______________________________________________________________________________________

Signature			Organization				Date

Dam Owner: _____________________________________________________________________________

Printed title and name

2. ______________________________________________________________________________________

Signature			Organization				Date

Washington State Dam Safety Office:__________________________________________________________

Printed title/organization and name

3. ______________________________________________________________________________________

Signature			Organization				Date

County Emergency Management Coordinator: ___________________________________________________

Printed title/organization and name

4. ______________________________________________________________________________________

Signature			Organization				Date

________________________: _______________________________________________________________

Printed title/organization and name

5. ______________________________________________________________________________________

Signature			Organization				Date

________________________: _______________________________________________________________

Printed title/organization and name

6. ______________________________________________________________________________________

Signature			Organization				Date

________________________: _______________________________________________________________

Printed title/organization and name

# Text boxes

Detect Event

Assess Situation

Determine Emergency Level

Level 3

Urgent

Dam Failure appears to be Imminent or is In Progress!

Level 2

Potential Dam

Failure Situation

Rapidly Developing

Level 1

Unusual Event

Slowly Developing

Notify

Level 3

List

Notify

Level 2

List

Notify

Level 1

List

Save Dam

Protective

Actions

Save People

EVACUATE

Monitor

Termination and Follow up

You must use the Contact Checklist (next page) to record all contacts made.

Other contact numbers (as needed)

Name: ______________________________

Organization: ________________________

Office (_____) ______-_________________

Home (_____) ______-_________________

Cell    (_____) ______-_________________

E-mail ______________________________

Name: ______________________________

Organization: ________________________

Office (_____) ______-_________________

Home (_____) ______-_________________

Cell    (_____) ______-_________________

E-mail ______________________________

Name: ______________________________

Organization: ________________________

Office (_____) ______-_________________

Home (_____) ______-_________________

Cell    (_____) ______-_________________

E-mail ______________________________

Dam owner or representative:

Name: ______________________________

Organization: _________________________

Office (_____) ______-_________________

Home (_____) ______-_________________

Cell    (_____) ______-_________________

E-mail ______________________________

Washington State Department of Ecology, Dam Safety Office:

Dam Safety Emergency Number:

Office (360) 407-6208

24 hr.: (360) 971-6347

Lead Geotechnical Engineer:

Office:  (360) 407-#### Cell:  (360) ###-####

Engineering firm (if applicable)

Name: ______________________________

Organization: _________________________

Office (_____) ______-_________________

Home (_____) ______-_________________

Cell    (_____) ______-_________________

E-mail ______________________________

Engineering firm (if applicable)

Name: ______________________________

Organization: _________________________

Office (_____) ______-_________________

Home (_____) ______-_________________

Cell    (_____) ______-_________________

E-mail ______________________________

Washington State Department of Ecology, Dam Safety Office:

Dam Safety Emergency Number:

Office (360) 407-6208

24 hr.: (360) 971-6347

Lead Geotechnical Engineer:

Office:  (360) 407-#### Cell:  (360) ###-####

*911 Script: the following message may be used to help describe the situation to the 911 dispatcher and the ___________ County Emergency Manager:

“This is (Identify yourself name, position, etc.).   We have an emergency condition at (name of dam)                    located _____ miles N, S, E or W of city/landmark                                         .

We have activated the Emergency Action Plan for this dam and are currently under Emergency 
Level 2.  We are implementing predetermined actions to respond to a rapidly developing situation that could result in dam failure.

Reference the Inundation Map in your copy of the Emergency Action Plan if an evacuation is necessary.

We will advise you as soon as the situation is resolved or if the situation gets worse.

You can call me at ____________________________.

If you cannot reach me, please call ______________________.

You must use the Contact Checklist (next page) to record all contacts made.

2)  (Prepare to start evacuation procedures, contact numbers page___)

Call 911*

and/or

Name:________________________________

(Local/County Emergency Manager)

Phone (_____)_________________________

1)    Dam owner or representative:

Name/ Organization:_________________________

Office (_____)______-________________________

Home (_____)______-________________________

Cell    (_____)______-________________________

3)    Washington State Department of Ecology, Dam Safety Office

Emergency Number at: (360) 407-6208 (Office) or (360) 971-6347 (24 hr.)

Lead Geotechnical Engineer: (360) 407-#### (office) or (360) ###-#### (cell)

4)    Engineering Firm (if applicable):

Name/ Organization:_______________________________

Office (_____)______-______________________________

Home (_____)______-______________________________

Cell    (_____)______-________________________

5)    ____________________________________________

Name/ Organization:_______________________________

Office (_____)______-______________________________

Home (_____)______-______________________________

6)    U.S. Forest Service (if dam is on USFS land)

Ranger/District___________________________

Name/number____________________________

7)    Other contact numbers:

Name/number____________________________

(______)_______-_________________________

Washington State Department of Ecology, Dam Safety Office:

Dam Safety Emergency Number:

Office (360) 407-6208

24 hr.: (360) 971-6347

Lead Geotechnical Engineer:

Office:  (360) 407-####

Cell:  (360) ###-####

Engineering Firm (if applicable)

Name: _________________________

Firm: __________________________

Office (_____) ______-____________

Home (_____) ______-____________

Cell    (_____) ______-____________

E-mail _________________________

Local Emergency Manager

Name: ______________________

Office (_____) ______-_________

Home (_____) ______-_________

Cell    (_____) ______-__________

Or call 911

*911 Script: the following message may be used to help describe the situation to the 911 dispatcher and the ___________ County Emergency Manager:

“This is (Identify yourself name, position, etc.).   We have an emergency condition at (name of dam)                  located _____ miles N, S, E or W of city/landmark                                          .

We have activated the Emergency Action Plan for this dam and are currently under Emergency Level 3.  We are implementing predetermined actions to respond to a rapidly developing situation that could result in dam failure. Reference the Inundation Map in your copy of the Emergency Action Plan if an evacuation is necessary.

We will advise you as soon as the situation is resolved or if the situation gets worse.

You can call me at (______)_______-______________,

If you cannot reach me, please call (______)_______-_______________.

“Attention: This is an emergency message from the ___________County Emergency Manager.  Listen carefully.  Your life may depend on immediate action.  (name of dam)_________ is failing.  Repeat, (name of dam) _________ is failing.

If you are in or near this area, proceed immediately to high ground away from the valley.  Do not travel on (names of roads or highways) ___________________________________________ or return to your home to recover your possessions.

You cannot outrun or drive away from the flood wave.  Move immediately to high ground away from the valley.”

Repeat message.

You must use the Contact Checklist (next page) to record all contacts made.

1)     (This starts evacuation procedures, see contact numbers page___)

Call *911

and/or

Name:_____________________________

(Local/County Emergency Manager)

Phone (_____)______-_______________

1)    Dam owner or representative:

Name/ Organization:_________________________

Office (_____)______-________________________

Home (_____)______-________________________

Cell    (_____)______-________________________

2)    Washington State Department of Ecology,

Dam Safety Office

Emergency Number at:

(360) 407-6208 (Office) or (360) 971-6347 (24 hr.)

Lead Geotechnical Engineer: (360) 407-####

(office) or (360) ###-#### (cell)

1)   Regional Emergency Manager

Name:__________________________

Phone (_____)______-_____________

24-hr No.:(____)_____-____________

Secondary Call

National Weather Service

Name:__________________________

Phone (_____)_____-______________

or

24-hr No.: (____)_______-__________

Engineering Firm (if applicable):

Name/ Organization:___________________________

Office (_____)______-____________________

Home (_____)______-____________________

Secondary Call

U.S. Forest Service (if dam is on USFS land)

Ranger/District__________________

Name/number___________________

(______)______-__________________

Other contact numbers:

Name/number_________________________

(______)_______-_______________________

Name/number_________________________

(______)_______-_______________________

Local Emergency Manager

Name: ____________________________

Office (_____) ______-_______________

Home (_____) ______-_______________

Cell    (_____) ______-_______________

Or call 911

Washington State Department of Ecology, Dam Safety Office:

Dam Safety Emergency Number:

Office (360) 407-6208

24 hr.: (360) 971-6347

Lead Geotechnical Engineer:

Office:  (360) 407-####

Cell:  (360) ###-####

Local Emergency Manager

Name: ______________________

Office (_____) ______-_________

Home (_____) ______-_________

Cell    (_____) ______-__________

Or call 911

Engineering Firm (if applicable)

Name: _________________________

Firm: __________________________

Office (_____) ______-____________

Home (_____) ______-____________

Cell    (_____) ______-____________

E-mail ______________________

Washington State Department of Ecology, Dam Safety Office:

Dam Safety Emergency Number:

Office (360) 407-6208

24 hr.: (360) 971-6347

Lead Geotechnical Engineer:

Office:  (360) 407-####

Cell:  (360) ###-####